# Assessment Requirements for MSFGG4004 Perform laser measurement and levelling for glass windows and doors in buildings

Release: 2

Assessment Requirements for MSFGG4004 Perform laser measurement and levelling for glass windows and doors in buildings

# Modification History

Release 2 - Update of Australian Standards codes.  Statement regarding currency of Australian Standards included in Range of Conditions and Performance Evidence.

Release 1 - New unit of competency

# Performance Evidence

Accurately select, set and use laser levelling devices to obtain and interpret specified measurements

Maintain and store laser levelling devices

Read, interpret  and follow  information on standard operating procedures, manufacturer recommendations, drawings and other applicable reference documents

Set up levelling equipment and take levelling measurements and perform necessary calculations

Confirm accuracy of the readings taken, including set up and movement of laser levelling device in two locations

Level and align a range of glass window and door components for installation in buildings

Confirm work requirements and specifications and the report work outcomes and problems and follow safety procedures

Avoid backtracking, work flow interruptions or wastage

Work with others and in a team by recognising dependencies and using cooperative approaches to optimise work flow and productivity

# Knowledge Evidence

AS 2047-2014 Windows in buildings - Selection and Installation

AS1288-2006 Glass in buildings - Selection and Installation

Note, wherever Australia Standards are listed they apply at the time of publication, but the most current version (including amendments) or replacement versions are to be used.

Terminology and concepts relating to electrical/electronic measurement

Specifications of a range of commonly used laser levelling devices and their features for application in the glass industry

Settings and the correct scale for each setting on laser levelling devices and procedures for obtaining accurate measurements

Levelling device types, characteristics, technical capabilities and limitations

Maintenance and storage requirements for a range of laser levelling devices

Principles of levelling and alignment and numerical operations, geometry and calculations/formulae for levelling

Effects on installed glass window and door components if not correctly levelled and aligned

Techniques, tools, equipment and procedures to carry out levelling and installation of glass components in buildings

Hazards and control measures associated with levelling and alignment and relevant safe work practices and procedures

Use and application of personal protective equipment

Relevant environmental, WHS legislation and regulations

Technical drawings and manufacturers manuals

Shimming and packing materials

Glass product specifications and tolerances

Hierarchy of control and basis of control for glass plant/s

Communication protocols (e.g. radio, phone, computer and paper, permissions/authorities)

# Assessment Conditions

Assessors must:

hold training and assessment competencies as determined by the National Skills Standards Council (NSSC) or its successors

have vocational competency in the furnishing industry at least to the level being assessed with broad industry knowledge and experience, usually combined with a relevant industry qualification

be familiar with the current skills and knowledge used and have relevant, current experience in the furnishing industry.

Assessment methods must confirm consistency of performance over time rather than a single assessment event and in a range of workplace relevant contexts.

Assessment must be by observation of relevant tasks with questioning on underpinning knowledge and, where applicable, multimedia evidence, supervisor’s reports, projects and work samples.

Assessment is to be conducted on single units of competency or in conjunction with other related units of competency. Foundation skills are integral to competent performance in the unit and should not be assessed separately.

Assessment must occur on the job or in a workplace simulated facility with relevant process, equipment, materials, work instructions and deadlines.

Access is required to laser levelling equipment, glass window and door components, work instructions, manufacturer documentation and organisational guidelines.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73