# MSFGG4009 Apply standards and codes of practice for the glass industry

Release: 1

MSFGG4009 Apply standards and codes of practice for the glass industry

# Modification History

Release 1. Supersedes and is equivalent to MSFGG4001 Apply standards and codes of practice for the glass industry.

# Application

This unit describes the skills and knowledge required to evaluate potentially complex glass and glazing requirements, determine codes and standards that must be applied and integrate those requirements into work processes.

This unit applies to experienced workers who interpret and use potentially complex technical information to develop glass and glazing work solutions. They may work in the manufacture, processing and/or installation of glass components. Job roles often involve leadership responsibilities.

No licensing or certification requirements exist at the time of publication. Relevant legislation, industry standards and codes of practice within Australia must be applied.

# Pre-requisite Unit

Nil.

# Competency Field

# Unit Sector

Glass and Glazing.

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Evaluate glass and glazing work requirements | 1.1 Identify and correctly interpret glass and glazing job requirements from workplace documentation and consultation 1.2 Accurately record requirements to inform analysis 1.3 Conduct technical evaluation and correctly determine compliance requirements and job feasibility |
| 2. Determine application of glass and glazing standards | 2.1 Identify products and/or types of glass for the job and determine current product specifications from investigation of supply sources 2.2 Assess relevant glazing standards against job requirements 2.3 Identify influencing factors and determine their significance and impact on the end product 2.4 Identify the need for any specialist assistance and seek advice in accordance with workplace procedures 2.5 Maintain communication with clients, building professionals and other workers to ensure all work is carried out to comply with glass and glazing standards 2.6 Develop optimal solution for completion of the work and confirm against all applicable standards |
| 3. Develop documentation | 3.1 Convert solution into accurate and detailed documentation in accordance with workplace procedures 3.2 Identify and develop documentation required by external personnel based on the scope of the project 3.3 Distribute documentation to internal and external personnel within required timeframes |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSFGG4001 Apply standards and codes of practice for the glass industry.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFGG4009 Apply standards and codes of practice for the glass industry

# Modification History

Release 1. Supersedes and is equivalent to MSFGG4001 Apply standards and codes of practice for the glass industry.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

assessed requirements and developed documentation that complies with Australian Standards (AS) for jobs that individually or cumulatively involve glass and glazing for:

stairways

balustrading

sloped or overhead glass

5-star rated buildings

fire-rate applications

curtain walls and/or facades

partitions.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

scope and nature of workplace documentation that informs evaluation of work requirements:

specialist technical specifications

client brief

location of work

key aspects of:

AS 1288: sections 6, 7 and 9

AS/NZS 2208: all sections

AS/NZS 1170: all sections

AS/NZS 4667: all sections

AS/NZS 4668: all sections

National Construction Code (NCC) references to windows and doors in buildings

workplace safety system requirements related to the handling and installation of glass and glazing products that impact specification development

types, characteristics uses and limitations of different glass, including issues related to:

aspect ratios

energy efficiency

installation methods

thermals

tolerances

wind loadings

current and emerging trends and developments in glass and glazing, including:

products

techniques and/or applications

sources of specialist glass and glazing technical advice

workplace procedures for development of specifications, including:

format

required inclusions

technical drawings

document control

range of people or parties potentially involved in glass and glazing work and typical interactions required:

architects

builders

customer

engineers

internal staff

product developers and/or suppliers

logistics personnel

communication protocols for the approval and dissemination of work specifications and other information to external parties.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

details of glass and glazing work requirements as specified in the Performance Evidence

AS/NZS documentation as detailed in the Knowledge Evidence

product information

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73