# MSFGG4012 Perform laser measurement and levelling for glass windows and doors in buildings

Release: 1

MSFGG4012 Perform laser measurement and levelling for glass windows and doors in buildings

# Modification History

Release 1. Supersedes and is equivalent to MSFGG4004 Perform laser measurement and levelling for glass windows and doors in buildings.

# Application

This unit describes the skills and knowledge required to plan for work, take accurate measurements, make alignment calculations and complete the levelling and alignment of glass windows and doors prior to installation.

This unit applies to individuals in glass and glazing enterprises who perform specialist or leadership functions.

No licensing or certification requirements exist at the time of publication. Relevant legislation, industry standards and codes of practice within Australia must be applied.

# Pre-requisite Unit

N/A

# Unit Sector

Glass and Glazing.

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for glass laser measurement and levelling | 1.1 Determine task requirements through review of documentation and inspection of windows and doors to be installed 1.2 Select laser levelling equipment suitable for the installation and set up to manufacturer recommendations 1.3 Plan levelling in detail including sequencing, and prioritise tasks and system requirements 1.4 Identify and mitigate potential site hazards for personnel and property and/or select control measures in accordance with the work plan |
| 2. Use laser devices to make measurements | 2.1 Take accurate measurements using laser levelling devices, and correctly interpret and record in accordance with standard operating procedures 2.2 Locate or set up datum point from measurements 2.3 Take readings to datum and at nominated or selected stations, to project specifications |
| 3. Perform levelling | 3.1 Make levelling realignment calculations using correct and appropriate methods for the installation levelling and/or alignment application 3.2 Level and align glass window and door components to specifications using correct and appropriate techniques, and make adjustments to ensure compliance with manufacturer specifications and the work plan 3.3 Temporarily fix glass components in the assigned installation positions prior to final measurement 3.4 Undertake final level and alignment inspections, make any adjustments and fix glass components to the building using appropriate fasteners |
| 4. Complete work | 4.1 Close down levelling equipment and notify appropriate personnel of completed installation in accordance with workplace requirements 4.2 Clear, clean, restore and secure work area of waste, in accordance with site and/or workplace procedures 4.3 Maintain plant, tools and equipment and store in accordance with site and/or workplace procedures 4.4 Finalise and document completion details in accordance with workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSFGG4004 Perform laser measurement and levelling for glass windows and doors in buildings.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73