# Assessment Requirements for MSFGG4014 Operate complex glass processing plant control systems

Release: 1

Assessment Requirements for MSFGG4014 Operate complex glass processing plant control systems

# Modification History

Release 1. Supersedes and is equivalent to MSFGG4006 Operate complex glass processing plant control systems.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

determined, analysed and acted on all of the following causes of problems, alarms and/or fault indications at least once, including:

instrument failure or malfunction

electrical failure or malfunction

mechanical failure or malfunction

equipment design deficiencies

product parameters (temperature, flows, pressure and levels)

process control system malfunction

power or utility failures

software problems.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

basic science of upstream and downstream glass processes

glass product specifications and tolerances

general operating principles and features of glass processing plants, including:

process control philosophies, strategies and systems, including multiple control systems

systems operating parameters and integrity limits

architecture and location of the glass process and/or production equipment

interactions between glass plant items and/or processes and between plant units within entire plant

communication systems and techniques for effective communication

fire and gas detection and protection systems

emergency shutdown procedures

organisational procedures for the operation of a specific plan control system

features and functions of control loops, including:

interactions between multiple control loops

cascade control

piping and instrumentation (P&ID) control

set points

controlled variable and indicated variable

features and functions of instrumentation and control systems and components, including:

feed forward, feedback and open control

sensing devices

final control elements

transducers and/or transmitters

impacts of changing controller settings and the limits within which changes can be made

features of typical problems encountered in a glass processing plant, and the process of how to respond, including for:

operating without advanced control features

loss of power or utilities

analysing failure modes

variation and/or loss of feed

unstable control of pressure, temperature level and flows

control equipment failure

process plant trips

change in atmospheric conditions (rain, temperature, wind and lightning)

emergency situations

how to interpret complex process drawings, including P&ID diagrams, probability of failure on demand (PFD) and cause and effect.

# Assessment Conditions

Skills must have been demonstrated in a glass processing workplace.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73