# Assessment Requirements for MSFGG4020 Perform laser measurement and levelling of glass windows and doors

Release: 1

Assessment Requirements for MSFGG4020 Perform laser measurement and levelling of glass windows and doors

# Modification History

Release 1. Supersedes and is equivalent to MSFGG4012 Perform laser measurement and levelling for glass windows and doors in buildings. Changes to title, application, elements, performance criteria and assessment requirements.

# Performance Evidence

There must be evidence the candidate has completed the tasks in the elements and performance criteria of this unit of competency and has demonstrated the ability to:

in two locations:

set up the laser levelling device to ensure accurate measurements

level and align, either sub-frame or sub-channel, for installation in buildings:

a glass door

a shopfront

a glass balustrade

confirm the accuracy of the measurements taken.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

principles of levelling and alignment and numerical operations, geometry and calculations and/or formulae for levelling, including Reduced Level (RL)

the requirements of AS 2047 Windows and external glazed doors in buildings (current at the time of publication. If this is revised, the superseding standard must be used.)

the safe and correct use of, and maintenance requirements for, tools and equipment for performing laser measurement and levelling of glass windows and doors

glass product specifications and tolerances plus or minus 1 mm and size over a distance

manufacturers’ use and maintenance instructions for levelling devices, including the:

rotating laser level

line and dot level

duel beam level

laser square level

manufacturers’ installation instructions for windows, doors, jacking bolts, shims, packers and fasteners

the most common issues that can arise when performing laser measurement and levelling of glass windows and doors and how to avoid and respond to them

workplace policies and procedures relevant to their job role and responsibilities including for:

performing laser measurement and levelling of glass windows and doors

communication and reporting

environmental protection and sustainability, including waste

quality indicators for completed work

work health and safety, including use of personal protective equipment and safety data sheets

work planning

how to identify if glass windows and doors are not levelled correctly, and the consequences of not levelling them correctly

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

buildings in which to level, outline and install glass windows and doors

windows, doors, jacking bolts, shims, packers, fasteners and other materials required by job instructions

laser levelling equipment and other tools and equipment required for the activities set out in the elements and performance criteria, including those to control hazards

job instructions and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73