# MSFID4013 Design residential interior lighting

Release: 1

MSFID4013 Design residential interior lighting

# Modification History

Release 1. Supersedes and is not equivalent to MSFID4008 Assess interior light and recommend light fittings.

# Application

This unit describes the skills and knowledge required to assess natural light and determine supplementary lighting requirements in an existing residential interior space and design lighting for that space.

This unit applies to interior decorators and designers. They analyse and compare information from diverse sources to inform a design solution.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking interior decoration and design work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

N/A

# Unit Sector

Interior Decoration and Design

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Interpret lighting requirements | 1.1 Evaluate project specifications, parameters and constraints, and confirm with client 1.2 Determine intended space functions and associated activities and desired effects 1.3 Select work resources based on the needs of the project 1.4 Identify key project stakeholders and establish required communication protocols |
| 2. Assess existing orientation and natural light | 2.1 Determine natural light and ultraviolet (UV) penetration from site analysis 2.2 Determine aspect and orientation from project brief and building plans 2.3 Examine window treatments and placement for their efficiency in controlling light 2.4 Review selection of colours for walls, ceilings, furnishings and wall hangings for their effect on raising or lowering the effect of light into the space 2.5 Assess methods of site light control and light control devices for their effect on natural light. |
| 3. Determine supplementary lighting requirements | 3.1 Identify and assess supplementary lighting sources and their potential to achieve the desired lighting effects 3.2 Research and assess the ongoing maintenance and environmental impact of potential supplementary lighting 3.3 Identify actual and potential location for supplementary lighting and determine required changes to achieve desired outcomes 3.4 Analyse effect of supplementary lighting on the existing or proposed colour spectrum |
| 4. Generate lighting concepts | 4.1 Use creative methodologies to generate lighting concepts and themes 4.2 Assess concepts against the project brief to select most viable solution 4.3 Present concept to client using support documentation suited to the scope of the project 4.4 Discuss ideas with client and modify concept according to feedback 4.5 Select lighting options that meet industry standards and accurately document specifications |
| 5. Revise and refine solution | 5.1 Revise and refine lighting concepts through a process of reflection and testing 5.2 Examine environmental aspects of lighting solution and identify and integrate options for improved sustainability 5.3 Research and select appropriate lighting options that meet industry standards 5.4 Select the final lighting design that best meets the requirements of the brief |
| 6. Present lighting solution | 6.1 Document lighting solution using industry symbols and conventions for all fittings and components 6.2 Relate selection of light fittings to layout, including furniture, ceiling forms and natural light 6.3 Develop and document comprehensive schedule for lighting design 6.4 Present lighting solution and clearly explain key features and benefits 6.5 Analyse client feedback and response to determine success in achieving client satisfaction 6.6 Evaluate work through feedback and own reflection, and identify potential improvements for use in future projects |

# Foundation Skills

The Foundation Skills describe those required skills (such as, language, literacy, numeracy and employment skills) that are essential to performance:

technology skills to research lighting information and document the lighting solution using digital media.

Other foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFID4013 Design residential interior lighting

# Modification History

Release 1. Supersedes and is not equivalent to MSFID4008 Assess interior light and recommend light fittings.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and:

designed and documented lighting solutions for residential spaces in response to 3 project briefs with varying parameters in terms of:

space aspect and orientation

type of space

different moods or atmospheres to be achieved

different activities to be addressed

budget.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

type and scope of client and/or project brief information needed to inform research and recommendation:

budget

client preferences

aesthetic and functional requirements

site characteristics – size, shape, services, structural considerations

timeline

types and features of resources that support the provision of design advice, and how they are used, including:

research tools and techniques

product tools

communication tools

mathematical procedures for estimation, measurement and calculation of costings

basic light characteristics:

natural

UV

interaction between colour and light

how aspect and orientation impact light and lighting selection

supplementary lighting:

effects on the colour spectrum

special effects that can be achieved

technical terminology

sources of information on lighting products and devices

types, characteristics, uses and limitations of different lighting products and devices in different spaces

switching options and requirements

features and effects of different lighting devices:

bulb types

ceiling lights

flood lights

lamps

spot lights

wall lights

methods of light control and their uses in different situations

how furnishing selections impact light in an interior space

the relationship between lighting and key parameters for:

atmosphere and mood

activities undertaken in the space

how to identify basic aspects of electricity board that may impact lighting choices:

age of board

number of circuits

safety switches

signs of rewiring

Australian lighting standards and drawing conventions for lighting formats.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

design briefs

sites for lighting

measuring equipment

information technology for research and design presentation.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73