# MSFID5006 Design interior lighting

Release: 1

MSFID5006 Design interior lighting

# Modification History

Release 1 - New unit of competency

# Application

This unit of competency covers designing lighting for an interior space to achieve lighting effects required by a design brief.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking interior decoration and design work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

| MSFID4008 | Assess interior light and recommend light fittings |
| --- | --- |

# Competency Field

# Unit Sector

Interior Decoration and Design

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Assess project | 1.1 | Applicable work health and safety (WHS), legislative and organisational requirements relevant to researching and recommending lighting design are verified and complied with |
|  |  | 1.2 | Project brief is reviewed, confirmed and clarified with client |
|  |  | 1.3 | Parameters for the project are assessed and confirmed |
|  |  | 1.4 | Resources are selected appropriate to work requirements and checked for operational effectiveness |
|  |  | 1.5 | Communication with others is established and maintained |
| 2 | Assess current light sources | 2.1 | Site analysis is conducted to assess the natural light and artificial light sources |
|  |  | 2.2 | Project plans and drawings and site documents are analysed to determine current and potential influences on light source |
|  |  | 2.3 | Factors for consideration are analysed with regards to their impact on lighting |
|  |  | 2.4 | Environmental sustainability of design is assessed in terms of lighting |
|  |  | 2.5 | Design is analysed to determine requirements for achieving desired lighting effects |
| 3 | Design lighting for interior project | 3.1 | Research is conducted to determine cost and energy efficient lighting options to meet the requirements of the integrated design solution |
|  |  | 3.2 | Light fittings and light control devices and their locations are selected and specified on design documentation |
|  |  | 3.3 | Structural design features are reviewed in terms of effect on lighting and specifications determined to support the overall design solution |
|  |  | 3.4 | Non-structural design features are reviewed in terms of effect on lighting and potential improvements identified |
|  |  | 3.5 | Special effects are selected and specified for design |
|  |  | 3.6 | Electrician is consulted to confirm potential complications with changes to lighting design, estimate costing and determine wiring requirements to implement lighting schedule |
|  |  | 3.7 | Lighting design is assessed for conformance to industry standards and regulations |
| 4 | Draw and present lighting design | 4.1 | Structural and non-structural design features required to achieve lighting effects are documented on design drawings |
|  |  | 4.2 | Work and product schedules are developed |
|  |  | 4.3 | Costing is determined and documented |
|  |  | 4.4 | Lighting features are presented to client |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes, and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures, Liveable and Accessible Housing Design guidelines, and organisation insurance requirements work requires individual to demonstrate discretion, judgement and problem solving, plus self-management and learning skills |
| Lighting design includes: | selection of light fittings determination of window positions and dimensions uses of skylights position of walls balance of artificial and natural light sources inclusion of light control devices |
| Project brief includes: | client needs and objectives client aims and objectives, and criteria for evaluation milestones organisational or personal profiles and aims image requirements and function target market budget timeline consultation requirements colour requirements |
| Clients include: | suppliers manufacturers private clients colleagues retailers the public |
| Parameters include: | scope of brief approval to make changes (legislative and planning) effect or feel trying to be achieved functionality (short and long term) budget restrictions established timelines |
| Resources include: | computers computer software design software computer-aided design (CAD) software colour boards storyboards swatches product based colour systems, such as Munsell or similar colour matching system, such as Pantone Matching System (PMS) journals (directions magazines) artistic equipment and products model making equipment |
| Site analysis includes: | a visit to the building (home, office or other) to achieve a feel for the intention of the project brief and how natural light may effect it, to assess the level of radiation from the sun into the space and the angles and obstructions caused by other buildings, vegetation or man-made objects, and recording information and taking photos |
| Natural light includes: | light emitted directly by the sun or reflected from it |
| Artificial light includes: | lamps ceiling lights spotlights floodlights dimmers wall lights light-emitting diode (LED) energy efficient globes |
| Factors for consideration include: | ultraviolet (UV) exposure aspect and orientation window treatments light characteristics colour space layout construction methods and materials |
| Light control devices include: | motorised or automated mechanisms linked to window treatments |
| Structural design features include: | placement and dimensions of walls windows doors flooring and ceiling features poles posts columns |
| Non-structural lighting design features include: | use of colour fixtures fittings finishes soft furnishings furniture |
| Special effects include: | dimming spotlight flooding brightness creating space creating focus |
| Personal protective equipment includes: | that prescribed under legislation, regulations and enterprise policies and practices |
| Information and procedures include: | work instructions, including plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures |

# Unit Mapping Information

Supersedes and is equivalent to LMFID5006A Design interior lighting.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73