# Assessment Requirements for MSFID6010 Design commercial interior lighting

Release: 1

Assessment Requirements for MSFID6010 Design commercial interior lighting

# Modification History

Release 1. Supersedes and is not equivalent to MSFID5006 Design interior lighting.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and:

designed and documented lighting solutions with 3D visualisations for 3 different commercial spaces:

each space must be different in terms of activities, tasks and processes undertaken in the space

1 must be an existing space requiring a new lighting design

1 must be a potential space, yet to be constructed.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

type and scope of client and/or project brief information needed to inform research and recommendation:

budget

client preferences

aesthetic and functional requirements

site characteristics – size, shape, services, structural considerations

timeline

types and features of resources that support the provision of design advice, and how they are used, including:

research tools and techniques

product tools

communication tools

mathematical procedures for estimation, measurement and calculation of costings

basic light characteristics:

natural

UV

interaction between colour and light

how aspect and orientation impact light and lighting selection

artificial light:

effects on the colour spectrum

energy efficiency

special effects that can be achieved

technical terminology

lighting design options and trends in the context of commercial spaces:

hospitality

multi-residential

retail

workplace

sources of information on commercial lighting products and devices

features and effects of different types of commercial lighting products

methods of light control and their uses in different situations

how furnishing selections impact light in an interior space

the relationship between lighting and key parameters for:

atmosphere and mood

activities undertaken in the space

Australian Standard AS1680 – its purpose and key provisions

drawing conventions for lighting formats.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

design briefs

sites for lighting

measuring equipment

information technology for research and design presentation.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73