# Assessment Requirements for MSFKB4010 Determine spatial planning considerations for bathroom design

Release: 1

Assessment Requirements for MSFKB4010 Determine spatial planning considerations for bathroom design

# Modification History

Release 1. Supersedes and is equivalent to MSFKB4004 Determine spatial planning considerations for bathroom design.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

determined and documented spatial planning considerations for 3 different bathrooms, 1 of which must be a renovation, and 1 of which must be a new build.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

liveable housing design – current and emerging thinking and trends

principles of ergonomics and their application to bathroom design:

clearance (minimum spatial tolerances for access)

reach (maximum spatial tolerances and workspace envelope

factors for consideration in planning bathroom spaces:

additional space requirements often incorporated into bathrooms for functions such as dressing, ironing, make-up areas

installation requirements

clearances – floor, traffic

space requirements for reaching, bending and crouching

ways of collating and documenting information to inform the design process and how to develop itemised schedules

aspects of bathroom design:

layout options, including placement of:

basins

baths and/or spas

lighting

power

showers and shower screens

toilets and bidets

vanities

ventilation

use zones:

bathing and/or showering

drying

other ancillary uses

storage - common requirements, options and storage principles

types, characteristics, uses and spatial requirements for different appliances, fixtures and fittings, including:

shower, shower screen and shower head

toilet and bidet

bath and spa

laundry related items

vanities, taps and sinks

cabinets

towel racks

types, characteristics and use of different lighting and ventilation options, both natural and artificial

types of work impacted by planning and building regulations, and the requirements and regulations that apply, including licensing requirements for:

electrical (power and lighting)

glazing (shower doors, shower screens, bath enclosures, windows, mirrors)

painting

plumbing

structural changes

structural changes (movement of walls, installation of new flooring)

tiling

waterproofing.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

design briefs

sites for bathroom designs

measuring equipment

information technology for document creation.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73