# Assessment Requirements for MSFKB4013 Document residential building services

Release: 1

Assessment Requirements for MSFKB4013 Document residential building services

# Modification History

Release 1. Supersedes and is equivalent to MSFKB4003 Identify and document services required to support fitted furniture designs.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

conducted a site survey and documented services information for 3 different sites

developed digital service layout documentation that complies with industry standards and protocols for 3 different designs (to include 1 renovation and 1 new build), which individually or cumulatively include documentation of the following services:

electrical:

power points

data outlets

lighting

gas

plumbing:

water outlets

drainage features.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

state or territory work health and safety legislation, regulations, standards and codes of practice

purpose and key provisions of Australian Standard AS1100 and its impact on documentation requirements

statutory planning regulations affecting services in interior spaces, including kitchens and bathrooms

mathematical procedures for estimation and measurement

basic building and architectural terminology

basic features of the following building services and their layout:

electricity – outlets, controls, switches

lighting

plumbing

gas

air-conditioning and/or ventilation

sketching and drawing techniques

industry symbols and protocols for the documentation of building services

cost implications of existing services on design – relocation, capacity, fixtures and fittings

local planning processes

sustainability considerations for service layouts

sources of information on cabinetry products

different products, their characteristics, performance and service requirement:

appliances

lighting

formats and required inclusions for design specifications.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

sites to be assessed

measuring equipment

information technology hardware

CAD software.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73