# MSFSL5004 Install heritage leadlight and stained glass

Release: 1

MSFSL5004 Install heritage leadlight and stained glass

# Modification History

Release 1 - New unit of competency

# Application

This unit of competency covers installing heritage leadlight and stained glass panels following their conservation.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking glass and glazing work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

# Competency Field

# Unit Sector

Leadlight and Stained Glass

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify and plan installation requirements | 1.1 | Applicable work health and safety (WHS), legislative and organisational requirements relevant to leadlight and stained glass operations are verified and complied with |
|  |  | 1.2 | Location of the leadlight and stained glass panel to be installed is established, confirmed and clarified with appropriate personnel |
|  |  | 1.3 | Installation sequence is identified and a work plan is developed |
|  |  | 1.4 | Tools and equipment required for the installation are identified |
|  |  | 1.5 | Approval of installation plan is obtained as required by agreed procedures |
| 2 | Prepare for installation | 2.1 | Tools and equipment are positioned and checked prior to use to ensure they are appropriate for the installation, serviceable and in a safe condition |
|  |  | 2.2 | Inspection of the opening where the panel is to be installed is conducted |
|  |  | 2.3 | Leadlight and stained glass panel is inspected to ensure its integrity while being installed |
|  |  | 2.4 | Plans and other documents are positioned to allow for confirmation of the panel structure and placement |
|  |  | 2.5 | Photographs are taken of the panel for later reference |
| 3 | Install the panel | 3.1 | Panel is installed and placed in position |
|  |  | 3.2 | Supporting frames are removed from the panel |
|  |  | 3.3 | Panel structural supports are installed and checked |
|  |  | 3.4 | Structural damage is identified and noted |
|  |  | 3.5 | Photographs of process of installation are taken for later reference |
| 4 | Finalise and report on the installation | 4.1 | Installed panel is inspected and damage resulting from the installation is identified and rectified |
|  |  | 4.2 | Tools and equipment are removed cleaned and stored appropriately |
|  |  | 4.3 | Removal area is cleaned and rubbish disposed of, as appropriate |
|  |  | 4.4 | Installation report is prepared and provided, as required |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes, and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures and organisation insurance requirements work requires individuals to demonstrate discretion and apply judgement and problem solving to complex issues |
| Appropriate personnel include: | clients architects engineers construction supervisors members of heritage committees government agencies other specialist artisans, such as stonemasons |
| Tools and equipment include: | work benches ladders and scaffolding cameras magnifying glasses lights cranes forklifts general hand tools |
| Inspection includes: | measuring to determine if the panel is the correct size and ensuring that the supporting infrastructure required for the panel is in place |
| Plans and other documents include: | original architectural plans original drawings, cartoons and cut lines of the panel historical documents and photographs contemporary photographs charcoal rubbings sketches |
| Installation includes: | the requirement to dismantle the panel prior to installation to stop further damage, and assembling the panel in place |
| Supporting frames include: | wooden or metal frames that support the leadlight and stained glass panels during its transportation and installation |
| Installation report includes: | detailing the extent of any damage to the surrounding building or fixture any damage to the panel any recommendations as to future requirements |
| Personal protective equipment includes: | that prescribed under legislation, regulation and enterprise policies and practices: gauntlets gloves safety glasses hard hats safety footwear aprons and overalls |
| Information and procedures include: | workplace procedures relating to the use of tools and equipment and personal protective equipment work instructions, including job sheets, cutting lists, plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures |

# Unit Mapping Information

Supersedes and is equivalent to LMFSL5004B Install heritage leadlight and stained glass.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73