# Assessment Requirements for MSL904003 Perform standard calibrations

Release: 1

Assessment Requirements for MSL904003 Perform standard calibrations

# Modification History

Release 1. Supersedes and equivalent to MSL904002 Perform standard calibrations. Minor changes to Performance Criteria and Knowledge Evidence. Performance Evidence changed for improved flexibility and use across multiple industry sectors.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely and accurately calibrated 3 different types of test and/or measurement equipment chosen from the following fields of testing and/or calibration:

temperature

light intensity

physical measurement

electrical testing

mechanical testing

other situation where the instrument is used as an industry reference or standard.

Calibrations must be carried out in accordance with standard calibration procedures and documented test methods.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

basic purpose of metrology and calibration relevant to job role, including common terminology, concepts, principles, procedures and applications

National Association of Testing Authority’s (NATA) and National Measurement Institute’s (NMI) role in the measurement and testing system in Australia

requirements for the competence of testing and calibration laboratories as they affect job role and responsibilities

statistical analysis of quality control data, mean, median, mode, ranges and standard deviations

hierarchy and appropriate selection of reference materials and instruments

test equipment, reference materials and working standards relevant to job role

workplace procedures for:

non-conformance/non-compliance

equipment operation

calibration

troubleshooting for equipment and test methods

recording and reporting

handling, transport, storage and operation of reference and working standards relevant to the job role

test methods and calibration (validated and authorised)

metrological traceability

different fields in which calibration work is conducted

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

specialised calibration/test equipment, reference standards and laboratory facilities

calibration methods, procedures and equipment specifications

workplace quality manual and procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa