# Assessment Requirements for MSL905005 Create or modify calibration procedures

Release: 1

Assessment Requirements for MSL905005 Create or modify calibration procedures

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL905002 Create or modify calibration procedures. Foundation skills information added. Range of conditions removed. Assessment requirements amended. Equivalent outcome. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

created or modified at least 2 calibration procedures, including trialling and confirming that each is fit for purpose to meet technical and/or client requirements.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

procedures, and implications, for creating or modifying calibration procedures

Australian and international standards covering accuracy of measurement methods and results, expression of uncertainty (GUM), quantifying uncertainty in analytical measurement, and quality assurance of measurement equipment

registration/licensing and/or National Association of Testing Authorities (NATA) accreditation requirements

electrical reference standard

common test equipment

laboratory environmental control requirements

structure and terminology used in standard calibration methods, procedures, requests and instructions

current calibration methods, procedures and technology applications used in laboratory

handling, transport, storage and operation requirements of reference and working standards

calculation procedures to give results in appropriate accuracy, precision and units

methods for statistical analysis (means, ranges and standard deviations) and estimation of uncertainty of measurement (may include the use of software)

equipment and testing method troubleshooting procedures

workplace procedures for documenting calibration procedures

workplace and/or legal traceability requirements

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

specialised calibration/test equipment, reference standards and materials and laboratory facilities

access to a library of calibration methods, procedures and equipment specifications

workplace quality manual and procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa