# Assessment Requirements for MSL916014 Maintain compliance in work or functional area

Release: 1

Assessment Requirements for MSL916014 Maintain compliance in work or functional area

# Modification History

Release 1. Supersedes and equivalent to MSL916009 Maintain registration and statutory or legal compliance in work or functional area. Title simplified. Minor changes to wording in Elements and Performance Criteria. Change to Performance Evidence to focus more on specific activities that support compliance. Minor wording changes to Knowledge Evidence and removal of requirements around copyright, human rights and freedom of information.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

led 3 activities to ensure work complies with all workplace requirements, legal requirements and relevant policies and procedures.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

workplace procedures governing document control, record management, communication and reporting, and internal and external audits

scientific technical terminology used to describe legislative, licensing or registration requirements

legal, ethical and welfare issues associated with laboratory and technical work

role, structure and responsibilities of ethics committees

registration/licensing and accreditation or certification requirements

Australian and international standards and codes covering the competence of testing and calibration laboratories

industry specific codes and guidelines

state/territory and Commonwealth requirements for:

work health and safety (WHS):

managing hazards and risks

safety requirements for the use of equipment, materials and products

intellectual property (IP)

equal opportunity

privacy

environmental protection.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

laboratory equipped with appropriate equipment, instruments, services and consumables

workplace policies and procedures

technical manuals, quality manuals and quality system documentation

modelling of industry operating conditions, including:

interactions with laboratory operations staff.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa