# MSL924002 Use laboratory application software

Release: 1

MSL924002 Use laboratory application software

# Modification History

Release 1. Supersedes and is equivalent to MSL924002A Use laboratory application software

# Application

This unit of competency covers the ability to use and apply computer software in the laboratory, field and/or production plants for analysis and reporting.

This unit of competency is applicable to technical officers and laboratory technicians in all industry sectors. It describes the application and use of software packages in the context of a laboratory or fieldwork. Typically this software would be for the storage, retrieval, analysis and display of information. There is no expectation that candidates would be able to customise the software to meet specific needs.

While no specific licensing or certification requirements apply to this unit at the time of publication, laboratory operations are governed by relevant legislation, regulations and/or external accreditation requirements. Local requirements should be checked.

# Pre-requisite Unit

Nil

# Competency Field

Data

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Access application software | 1.1 | Identify software required for the task |
|  |  | 1.2 | Open software from a personal computer or network terminal |
|  |  | 1.3 | Use information sources to locate details of software features and instructions for its use |
| 2 | Use software for specified purposes | 2.1 | Input a range of scientific data into a computing system |
|  |  | 2.2 | Conduct searches for the retrieval of required data |
|  |  | 2.3 | Use application features for efficient computation |
|  |  | 2.4 | Construct data sets and databases for numerical and graphical analyses |
| 3 | Produce reports of retrieved data and/or processed data | 3.1 | Analyse data using features of the software package |
|  |  | 3.2 | Select options for constructing data reports |
|  |  | 3.3 | Print the results of data analyses using features of the software package |
|  |  | 3.4 | Integrate data from diverse application software units in a report |
|  |  | 3.5 | Report the outcomes and rationale for database searches where appropriate |
|  |  | 3.6 | Reference data sources according to the style requirements of the workplace |
| 4 | Perform simple record housekeeping | 4.1 | Maintain archived data according to workplace standard procedures |
|  |  | 4.2 | Maintain hard copy data according to workplace standard procedures |
|  |  | 4.3 | Apply approved antivirus software and standard quarantine procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Standards, codes of practice, workplace standard procedures | Where reference is made to Australian/international standards, industry codes of practice or workplace standard procedures, the latest version must be used |
| Information sources | Information sources include, but are not limited to, one or more of: printed and/or online manuals of workplace standard instructions printed and/or online manuals for hardware and software on-screen instructions embedded in the software printed and/or online training materials that orient software to workplace needs online networks and communities of practice |
| Software packages | Software packages include: common applications, such as word processing, spreadsheets and databases graphical and statistical analysis applications database and laboratory information management systems |
| Work health and safety (WHS) and environmental management requirements | WHS and environmental management requirements include:  complying with WHS and environmental management requirements at all times, which may be imposed through state/territory or federal legislation. These requirements must not be compromised at any time  applying standard precautions relating to the potentially hazardous nature of samples accessing and applying current industry understanding of infection control issued by the National Health and Medical Research Council (NHMRC) and State and Territory Departments of Health, where relevant |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MSL924002A Use laboratory application software

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa