# Assessment Requirements for MSL925005 Analyse measurements and estimate uncertainties

Release: 1

Assessment Requirements for MSL925005 Analyse measurements and estimate uncertainties

# Modification History

Release 1. Supersedes and is not equivalent to MSL925003 Determine measurements of uncertainty. Prerequisite units added. Title changed. Minor change to Performance Evidence for clarity. Removal of duplicating (legal, ethical) or unnecessary (WHS) item in Knowledge Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

analysed measurements and estimated uncertainties including each of the following at least once across 3 data sets:

developing and using a measurement model

using statistical analysis to estimate and report measurement uncertainty in accordance with the ISO Guide to the Expression of Uncertainty in Measurement

calculating a combined standard uncertainty using root-sum-of-squares, accounting for correlations where necessary

gathering information about uncertainty components from calibration reports or reference material report

calculating sensitivity coefficients either mathematically, numerically or experimentally

reporting results and uncertainties in the required formats

organising and maintaining all sources of uncertainty and the associated data in the uncertainty-analysis table

using the uncertainty-analysis table to identify the largest uncertainty.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

steps in the measurement, test or calibration involved

difference between errors, corrections and uncertainties

uncertainty in the uncertainty estimation process

uncertainty components, including:

calibration uncertainty

instability or drift in the calibrated instrument

repeatability of the results

resolution or readability of the instrument

environmental influences

reference material uncertainty

factors arising from the instrument being used under different conditions to those when it was calibrated

factors arising from using an instrument under a different operating environment or procedures

reproducibility of quality control data and when this is applicable

workplace procedures for:

determining the uncertainty components associated with each of the inputs and whether they are significant and for applying appropriate corrections

determining uncertainty components from quality control data

manufacturer’s specifications (including instrument drift specification and reference materials)

concept of degrees of freedom

characteristics of a valid measurement

the role of measurement uncertainty in conformity assessment

reporting requirements: the uncertainty in measurement (GUM), National Association of Testing Authorities (NATA) or other applicable reference material

Australian and international standards, codes and guides as they relate to the job role.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

data sets and records

test methods and description of test set-up

computer and relevant software or laboratory information management system

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa