# Assessment Requirements for MSL925006 Analyse data and report results

Release: 1

Assessment Requirements for MSL925006 Analyse data and report results

# Modification History

Release 1. Supersedes and equivalent to MSL925004 Analyse data and report results. Minor changes to Performance Criteria and Knowledge Evidence. Performance Evidence significantly reworked for clarity with some duplicating information removed.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

calculated scientific quantities of laboratory data, including at least 4 of the following (note that the items in each bullet point count as one):

absolute and relative error or uncertainties in measurements and test results

pH, [H+], [OH-] and buffer calculations

Ka, pKa, Kb, pKb and Kw

solubility constants Ks and pKs

radioactivity (half-life, dose, activity and exposure)

optical properties, including absorbance/transmittance, path length, extinction coefficient, concentration (Beers law) and detection limits

electrical properties, including conductivity, resistivity and dielectric constants

mechanical properties, including stress, strain, elastic moduli, yield strength and hardness

thermal properties, including heat capacity, thermal expansion, thermal conductivity and thermal resistance

food content (%) of water, ash, dietary and crude fibre, carbohydrate, protein, fat and specific vitamin

quality-related data

industry-specific quantities

used and interpreted graphical and statistical analysis, and significance tests of laboratory data sets, including 4 of the following:

mean, median, mode, range, variance and standard deviation

measures of central tendency and dispersion

histograms, frequency plots, stem and leaf plots, boxplots and scatter plots

probability and normal probability plots

Pareto diagrams, Shewhart control charts and CuSum control charts

regression methods for calibration, linearity checks

data acceptability tests.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

meaning of scientific and technical terminology, including variables, dispersion, central tendency, process control, process stability, normal distribution, confidence level and replication

characteristics of a valid measurement

relevance/importance of the national measurement legislation and guidelines to laboratory measurement

sources and estimates of uncertainty in measurements

workplace procedures for:

metrological traceability

verifying data and rectifying mistakes

maintaining and filing records, and maintaining security of data

potential issues and requirements related to bias and impartiality.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

data sets and records

calculator

computer and relevant software, including spreadsheets, databases and statistical packages or laboratory information management system

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa