# MSL933004 Perform calibration checks on equipment and assist with its maintenance

Release: 1

MSL933004 Perform calibration checks on equipment and assist with its maintenance

# Modification History

Release 1. Supersedes and is equivalent to MSL933004A Perform calibration checks on equipment and assist with its maintenance

# Application

This unit of competency covers the ability to perform set-up, pre-use and in-house calibration/validation checks on equipment and assist with its maintenance.

This unit of competency is applicable to laboratory assistants working in all industry sectors.

While no specific licensing or certification requirements apply to this unit at the time of publication, laboratory operations are governed by relevant legislation, regulations and/or external accreditation requirements. Local requirements should be checked.

# Pre-requisite Unit

Nil

# Competency Field

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Perform set-up and pre-use checks of laboratory equipment | 1.1 | Perform laboratory equipment set-up and pre-use checks in accordance with workplace procedures |
|  |  | 1.2 | Perform safety checks in accordance with relevant workplace and instrumental procedures |
|  |  | 1.3 | Identify faulty or unsafe components and equipment and report to appropriate personnel |
|  |  | 1.4 | Complete equipment log books/records to meet workplace requirements |
| 2 | Perform calibration checks | 2.1 | Start up equipment according to operating procedures |
|  |  | 2.2 | Use specified standards for calibration check |
|  |  | 2.3 | Check equipment in accordance with calibration procedures and schedules |
|  |  | 2.4 | Record all calibration data accurately and legibly |
|  |  | 2.5 | Compare data with specifications and/or previous records to identify non-compliant equipment |
|  |  | 2.6 | Quarantine out-of-calibration equipment |
| 3 | Assist with equipment maintenance | 3.1 | Ensure all equipment work areas are clean during and after equipment use |
|  |  | 3.2 | Perform basic maintenance in accordance with workplace procedures |
|  |  | 3.3 | Clean and store equipment according to workplace and/or manufacturer’s specifications/procedures |
|  |  | 3.4 | Identify and replace, repair or dispose of damaged/worn equipment as appropriate |
| 4 | Maintain records | 4.1 | Record and report information on unsafe or faulty equipment according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Standards, codes, procedures and/or workplace requirements | Standards, codes, procedures and/or workplace requirements include the latest version of one or more of: Australian and international standards covering the requirements for the competence of testing and calibration laboratories, laboratory safety and quality management national work health and safety (WHS) standards and codes of practice, national measurement regulations and guidelines industry specific codes, regulations and guidelines, such as good laboratory practice (GLP) workplace documents, such as standard operating procedures (SOPs), quality and equipment manuals, calibration check and maintenance schedules, material safety data sheets (MSDS) and safety procedures, material, production and product specifications, production and laboratory schedules, workplace recording and reporting procedures, and waste minimisation and safe disposal procedures |
| Typical equipment | Typical equipment includes, but is not limited to, one or more of: balances; glassware; plastic ware; glass, plastic and quartz cuvettes, pipettes, burettes and volumetric glassware blending, mixing and separating equipment, such as sieves and centrifuges autoclaves, dishwashers, refrigerators, freezers, ovens, hotplates, mantles, burners and muffle furnaces, microwave ovens, ultrasonic cleaners, incubators and water baths, and gas cylinders fume hoods, biohazard containers and biological safety cabinets microtomes and tissue processors, cell counters and staining machines colorimeters/spectrometers and polarimeters, light and fluorescence microscopes thermometers, thermohygrographs, hydrometers, conductivity meters and pH meters and ion-selective electrodes, noise meters, melting point apparatus, viscometers and instrument chart recorders steel ruler/tapes and spirit levels, shovels, scoops, plates, rods, cylinder moulds and buckets rifflers and splitters and mixers, compaction rammers and soil classification equipment, penetrometers, force measuring equipment and tensiometers, and hardness testing equipment |
| WHS and environmental management requirements | WHS and environmental management requirements include:  complying with WHS and environmental management requirements at all times, which may be imposed through state/territory or federal legislation. These requirements must not be compromised at any time  applying standard precautions relating to the potentially hazardous nature of samples accessing and applying current industry understanding of infection control issued by the National Health and Medical Research Council (NHMRC) and State and Territory Departments of Health, where relevant |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MSL933004A Perform calibration checks on equipment and assist with its maintenance

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa