# Assessment Requirements for MSL933005 Maintain the laboratory/field workplace fit for purpose

Release: 1

Assessment Requirements for MSL933005 Maintain the laboratory/field workplace fit for purpose

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL933001 Maintain the laboratory/field workplace fit for purpose. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

appropriately cleaned laboratory work surfaces on 2 occasions

cleaned 2 items of laboratory/field equipment

monitored stocks of a workplace at least 2 separate occasions

maintained a safe work environment.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

relevant hazards, work health and safety (WHS) requirements

workplace procedures for:

the cleaning of work preparation areas, materials and equipment

minimisation and disposal of waste

monitoring of laboratory stocks

typical equipment used in a laboratory

typical materials used in a laboratory

typical hazards and risks presented in a laboratory

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and WHS requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

work preparation areas, stocks, materials and equipment, cleaning, decontamination and/or disinfection agents and equipment

personal protective equipment (PPE).

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa