# MSL933005 Maintain the laboratory/field workplace fit for purpose

Release: 1

MSL933005 Maintain the laboratory/field workplace fit for purpose

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL933001 Maintain the laboratory/field workplace fit for purpose. Range of conditions removed. Assessment requirements amended. |

# Application

This unit of competency describes the skills and knowledge to clean laboratory work surfaces, clean and store laboratory equipment and monitor laboratory stocks under direct supervision.

This unit of competency applies to laboratory assistants and instrument operators working in all industry sectors. It forms a major part of the work of laboratory assistants, who work in accordance with work instructions and standard operating procedures (SOPs) which incorporate all relevant aspects of work health and safety (WHS) legislation and the codes, guidelines, regulations and Australian Standards applying to environmental hazards and dangerous goods.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Pre-requisite Unit

Nil

# Competency Field

Quality

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Clean work preparation areas | 1.1 | Clean preparation areas using appropriate cleaning agents and equipment according to workplace procedures |
|  |  | 1.2 | Remove spillages using appropriate agents, personal protective equipment (PPE) and workplace procedures |
|  |  | 1.3 | Collect and segregate wastes in accordance with workplace procedures, relevant codes and regulations |
| 2 | Clean and store equipment | 2.1 | Collect used equipment, inspect for faults and, where necessary, remove from service |
|  |  | 2.2 | Use appropriate agents, apparatus and techniques to clean equipment |
|  |  | 2.3 | Store clean equipment in the designated locations and manner |
| 3 | Monitor stocks of materials and equipment | 3.1 | Perform stock checks and maintain records of usage as directed |
|  |  | 3.2 | Store labelled stocks for safe and efficient retrieval |
|  |  | 3.3 | Inform appropriate personnel of impending stock shortages to maintain continuity of supply |
| 4 | Maintain a safe work environment | 4.1 | Use established safe work practices and PPE to ensure personal safety and that of other personnel |
|  |  | 4.2 | Report potential hazards and/or maintenance issues in own work area to designated personnel |
|  |  | 4.3 | Minimise the generation of waste and environmental impacts |
|  |  | 4.4 | Dispose of waste in accordance with workplace procedures, relevant codes and regulations |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Equivalent to MSL933001 Maintain the laboratory/field workplace fit for purpose, Release 1.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa

Assessment Requirements for MSL933005 Maintain the laboratory/field workplace fit for purpose

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL933001 Maintain the laboratory/field workplace fit for purpose. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

appropriately cleaned laboratory work surfaces on 2 occasions

cleaned 2 items of laboratory/field equipment

monitored stocks of a workplace at least 2 separate occasions

maintained a safe work environment.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

relevant hazards, work health and safety (WHS) requirements

workplace procedures for:

the cleaning of work preparation areas, materials and equipment

minimisation and disposal of waste

monitoring of laboratory stocks

typical equipment used in a laboratory

typical materials used in a laboratory

typical hazards and risks presented in a laboratory

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and WHS requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

work preparation areas, stocks, materials and equipment, cleaning, decontamination and/or disinfection agents and equipment

personal protective equipment (PPE).

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa