# Assessment Requirements for MSL933007 Apply critical control point requirements

Release: 1

Assessment Requirements for MSL933007 Apply critical control point requirements

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL933003 Apply critical control point requirements. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

correctly and appropriately monitored the critical, quality and regulatory control points for 2 different processes in own work area.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

the seven principles of HACCP and relationship to food or pharmaceutical safety, benefits of HACCP and preliminary steps for HACCP

HACCP plan contents, including:

critical control points and control limits

consequences of non-conforming products being identified

products/materials typically handled by laboratory assistants:

raw materials, ingredients, food additives, adjuncts/process aids and finished products

consumables, such as chemicals

layout of the workplace, divisions and laboratory

organisational structure of the workplace

lines of communication

quality policy, procedures and responsibilities of job role

workplace procedures associated with the candidate’s regular technical duties

equipment and instrument calibration requirements

continuous improvement practices

methods used to monitor each critical, quality and regulatory control point

methods for systematically investigating and responding to problems

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

quality manuals and procedures, HACCP plans and records

recording equipment

case studies to illustrate a range of HACCP issues.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa