# MSL933008 Perform calibration checks on equipment and assist with its maintenance

Release: 1

MSL933008 Perform calibration checks on equipment and assist with its maintenance

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL933004 Perform calibration checks on equipment and assist with its maintenance. Range of conditions removed. Assessment requirements amended. |

# Application

This unit of competency describes the skills and knowledge to perform set-up, pre-use and in-house calibration/validation checks on laboratory equipment and assist with laboratory equipment maintenance.

This unit of competency applies to laboratory assistants working in all industry sectors.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Pre-requisite Unit

Nil

# Competency Field

Calibration

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Perform set-up and pre-use checks of laboratory equipment | 1.1 | Perform laboratory equipment set-up and pre-use checks in accordance with workplace procedures |
|  |  | 1.2 | Perform safety checks in accordance with relevant workplace and instrumental procedures |
|  |  | 1.3 | Identify faulty or unsafe components and equipment and report to appropriate personnel |
|  |  | 1.4 | Complete equipment log books/records to meet workplace requirements |
| 2 | Perform calibration checks | 2.1 | Start up equipment according to operating procedures |
|  |  | 2.2 | Use specified standards for calibration check |
|  |  | 2.3 | Check equipment in accordance with calibration procedures and schedules |
|  |  | 2.4 | Record all calibration data accurately and legibly |
|  |  | 2.5 | Compare data with specifications and/or previous records to identify non-compliant equipment |
|  |  | 2.6 | Quarantine out-of-calibration equipment |
| 3 | Assist with equipment maintenance | 3.1 | Ensure all equipment work areas are clean during and after equipment use |
|  |  | 3.2 | Perform basic maintenance in accordance with workplace procedures |
|  |  | 3.3 | Clean and store equipment according to workplace and/or manufacturer’s specifications/procedures |
|  |  | 3.4 | Identify and replace, repair or dispose of damaged/worn equipment |
| 4 | Maintain records | 4.1 | Record maintenance details |
|  |  | 4.2 | Report information on unsafe or faulty equipment according to workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Equivalent to MSL933004 Perform calibration checks on equipment and assist with its maintenance, Release 1.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa

Assessment Requirements for MSL933008 Perform calibration checks on equipment and assist with its maintenance

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL933004 Perform calibration checks on equipment and assist with its maintenance. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

accurately performed set-up, pre-use and calibration checks for at least 2 different items of laboratory equipment using standard procedures

performed appropriate cleaning and maintenance tasks for at least 2 different items of laboratory equipment.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

role and importance of regular calibration checks and maintenance of laboratory equipment

function of key components of the laboratory equipment and details of the pre-use, calibration and safety checks and operating procedures for items of equipment used

sources of uncertainty in laboratory equipment operation and their control

basic equipment used for cleaning and maintaining laboratory equipment

common sources of faults in the instruments or equipment used and details of their repair

basic cleaning, maintenance and storage procedures for items of equipment used

workplace procedures for recording calibration data and reporting results, communicating with service agents and suppliers and ordering stocks

relevant hazards, work health and safety (WHS) and environmental management, and control measures

good laboratory practice (GLP)

legal and ethical requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

standard laboratory equipped with appropriate equipment and reference materials; cleaning, decontamination and/or disinfection agents and equipment; and personal protective equipment (PPE)

workplace procedures, equipment manuals and information/records management system.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa