# Assessment Requirements for MSL933009 Contribute to the achievement of quality objectives

Release: 1

Assessment Requirements for MSL933009 Contribute to the achievement of quality objectives

# Modification History

Release 1. Supersedes and equivalent to MSL933006 Contribute to the achievement of quality objectives. Minor changes to Performance Criteria and Knowledge Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

applied workplace quality control principles and procedures to laboratory/field work to achieve quality outcomes for at least two different laboratory tasks or ‘jobs’, including:

communicating with customers

recording and reporting results.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

role of laboratory services to the workplace and customers

quality requirements of the candidate’s job role and functions

workplace procedures associated with the candidate’s routine technical duties

layout of the workplace, divisions and laboratory

lines of communication

scheduling of tests and procedures to meet customer requirements

fundamental role of internal and external audits

recording, reporting and document control requirements

continuous improvement and waste minimisation principles

existence and purpose of any accreditation and regulatory requirements relating to quality objectives as they affect own job role.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

workplace quality system documentation

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa