# Assessment Requirements for MSL934005 Contribute to the ongoing development of HACCP plans

Release: 1

Assessment Requirements for MSL934005 Contribute to the ongoing development of HACCP plans

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL934001 Contribute to the ongoing development of HACCP plans. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

actively contributed to the development of at least one HACCP plan, either individually or as part of a team, including:

monitoring and evaluating effectiveness of changes within the context of the ongoing development of HACCP plan

consulting and communicating appropriately with associated personnel.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

the seven principles of HACCP and relationship to food or pharmaceutical safety, benefits of HACCP and preliminary steps for HACCP

HACCP plan contents, including:

critical control points and control limits

consequences of non-conforming products being identified

products and services provided by the workplace, and production process

layout of the workplace, divisions and laboratory

organisational structure of the workplace, communication channels and consultative arrangements

role of laboratory services to the workplace and customers

scheduling of tests and procedures to meet customer requirements

quality policy, procedures and responsibilities of job role

workplace procedures associated with the candidate’s regular technical duties

methods used to monitor each critical, quality and regulatory control point

methods for systematically investigating and responding to problems

flow charts, symbols, control charts, control limits and control measures

equipment and instrument calibration requirements

procedures for addressing non-compliance and continuous improvement practices

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

HACCP plans

workplace quality procedures and manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa