# Assessment Requirements for MSL934007 Maintain and control stocks

Release: 1

Assessment Requirements for MSL934007 Maintain and control stocks

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL934003 Maintain and control stocks. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

effectively maintained stocks of materials and equipment at prescribed levels for the work area, within 2 different seasonal variations in stock usage.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

terminology associated with ordering and storage of stocks

laboratory stock, product and service information relevant to job role

workplace procedures for:

ordering, purchase and receipt of stocks

verification of temperature control for delivered and stored stocks (e.g. reagents containing enzymes)

organisation of compatible batch or lot numbers

storage of stocks, stock control and rotation of stock

monitoring of use by dates of standards and shelf life of reagents

recording and reporting

reporting non-conformances

quality system requirements for stock control

customer database and supplier catalogues, customer-specific requirements/standards, internal/external stock orders and overdue actions

codes of practice and regulations concerning the labelling, handling, storage and transport of stock relevant to job role

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

stocks of materials and equipment

stock order forms and documentation

online information systems, inventories, print records, databases and catalogues

codes of practice and regulations concerning the handling, storage and transport of the stock.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa