# MSL934008 Maintain instruments and equipment

Release: 1

MSL934008 Maintain instruments and equipment

# Modification History

Release 1. Title changed to reflect content. Minor changes to Performance Criteria. Changes to Performance Evidence to improve clarity. Minor changes to Knowledge Evidence to improve clarity and remove duplication. Supersedes and equivalent to MSL934004 Maintain and calibrate instruments and equipment.

# Application

This unit of competency describes the skills and knowledge to check the serviceability and calibration of laboratory or field instruments and equipment and perform routine maintenance, such as cleaning and replacement of consumables and minor components. Personnel are also required to perform basic troubleshooting and repairs consistent with warranty and service agreements.

This unit of competency applies to technical assistants, instrument operators and technical officers working in all industry sectors.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Competency Field

Quality

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Perform serviceability checks | 1.1 Perform pre-use and after-use checks in accordance with appropriate workplace and manufacturer procedures 1.2 Identify faulty or unsafe components and equipment 1.3 Perform basic troubleshooting and repairs and report major service faults for repair in accordance with appropriate workplace and manufacturer procedures 1.4 Complete instrument and equipment logbooks to workplace procedures |
| 2. Conduct routine maintenance safely | 2.1 Identify maintenance procedures, schedules, records and safety requirements 2.2 Identify and replace or repair damaged, worn and/or spent components or items in accordance with appropriate workplace and manufacturer procedures 2.3 Clean instruments and equipment using recommended cleaning agents and techniques in accordance with appropriate workplace and manufacturer procedures 2.4 Store instruments and equipment in accordance with appropriate workplace and manufacturer procedures 2.5 Record maintenance performed and any issues identified in accordance with appropriate workplace procedures 2.6 Arrange any reordering of consumable stocks and equipment components |
| 3. Perform calibration checks | 3.1 Operate instruments and equipment in accordance with appropriate workplace and manufacturer procedures 3.2 Check calibration using specified standards and/or procedures 3.3 Record all calibration data accurately and legibly 3.4 Record calibration status and identify out-of-calibration equipment/instruments 3.5 Quarantine out-of-calibration items in accordance with workplace procedures 3.6 Report items unable to be calibrated in accordance with appropriate workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Reading skills to effectively interpret workplace procedures and manufacturer requirements.

Other foundation skills essential to performance are explicit in the performance criteria of this unit.

# Unit Mapping Information

Supersedes and is equivalent to MSL934004 Maintain and calibrate instruments and equipment.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa