# Assessment Requirements for MSL934009 Apply quality system and continuous improvement processes

Release: 1

Assessment Requirements for MSL934009 Apply quality system and continuous improvement processes

# Modification History

Release 1. Supersedes and equivalent to MSL934006 Apply quality system and continuous improvement processes. Changes to Elements and Performance Criteria to reflect level of application in the workplace. Multiple duplicating items removed from Knowledge Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

used at least 3 quality improvement tools and techniques to effectively analyse performance in work area

implemented actions to improve performance, working individually or as part of a team.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

business goals and quality requirements associated with job function and work area as a basis for decision-making and action

relationship between risk management and quality system management and improvement

specifications for laboratory products and services in the work area

role of laboratory services to the workplace and customers

workplace procedures for recording and reporting quality control data

fundamental role of scheduled quality control and equipment calibration and maintenance

fundamental role of internal and external audits

recording, reporting and document control requirements

continuous improvement principles

typical opportunities for improvement relating to the job role

layout of the workplace, divisions and laboratory

quality improvement tools and techniques

existence and purpose of any accreditation and regulatory requirements relating to quality objectives as they affect own job role.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

workplace quality documentation and procedures

quality control data/records

customer complaints and rectifications.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa