# Assessment Requirements for MSL935005 Authorise the issue of test results

Release: 1

Assessment Requirements for MSL935005 Authorise the issue of test results

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL935003 Authorise the issue of test results. Conditional/optional prerequisite removed. Foundation skills information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

verified the accuracy and completeness of at least 1 set of data, results and technical records for specified tests

issued at least 1 set of specified test results in accordance with authorisation and workplace procedures

reviewed at least 1 set of records of sampling, sample preparation, testing and/or calibration activities to identify potential causes of unacceptable data/results.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

workplace procedures for authorising the issue of specified test results

relevant reporting requirements, such as the ISO Guide to the Expression of Uncertainty in Measurement, National Association of Testing Authorities (NATA) and/or test methods

the confidence level required according to the National Measurement Act 1960 (e.g. 95% for most applications, but it may be higher)

scientific and technical knowledge of the samples, procedures, equipment, materials and instrumentation used to generate the specified test results and data

statistical tests used to estimate uncertainties and determine data acceptability

estimates of uncertainty

expected values for data and results and the uncertainty components for specified test methods

common sources of interference, human and environmental factors, sample preparation problems and relevant preventative/corrective actions associated with specified test result

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

sampling and test methods, description of test set-up, data sets, results and technical records

calculator

spreadsheets and databases

computer, relevant software or laboratory information system

workplace quality procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa