# Assessment Requirements for MSL935006 Assist in the maintenance of reference materials

Release: 1

Assessment Requirements for MSL935006 Assist in the maintenance of reference materials

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL935002 Assist in the maintenance of reference materials. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely and effectively maintained 2 different reference materials so that their reference characteristics and attributes are stable in storage and manifest in use after retrieval.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

the nature and purpose of certified reference materials (i.e. what they are, when and why they should be used)

the storage requirements of biological and non-biological materials

quarantine or isolation procedures relevant to work area

the labile nature of chemical and biological materials

reasons for testing before accession and before issuing reference materials

relevant reference materials

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

equipment and materials related to the workplace task for which the reference material is relevant

reference materials

standard operating procedures (SOPs).

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa