# Assessment Requirements for MSL935007 Monitor the quality of test results and data

Release: 1

Assessment Requirements for MSL935007 Monitor the quality of test results and data

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL935001 Monitor the quality of test results and data. Foundation skills information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

analysed at least 2 sets of test results and data to detect potential or actual non-conformances, assessed their significance, identified potential causes and recommended preventative or corrective actions

reviewed the accuracy and completeness of at least 1 set of technical records for sampling or testing activities

reviewed the accuracy and completeness of at least 1 set of instrument calibration/performance records.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

characteristic properties of the materials under investigation

specifications for samples, tests and/or calibration activities under investigation

scientific and technical knowledge of the procedures, equipment, materials and instrumentation used to generate the test results and data

charts, tables and statistical analysis tools to interpret results, estimate uncertainties and determine data acceptability

sources of interference that may affect data

human and environmental factors that may affect data

workplace data quality procedures and/or legal traceability requirements

instrument calibration/performance records

typical sample collection and preparation problems and associated preventative/corrective actions

National Association of Testing Authorities (NATA) accreditation program requirements

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

workplace quality assurance procedures based on Australian and/or international standards, and workplace quality manuals and procedures

technical records of sampling and testing activities, and instrument calibration/performance records

appropriate software

samples, sampling and testing equipment, instruments and materials.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa