# Assessment Requirements for MSL935008 Monitor the quality of test results and data

Release: 1

Assessment Requirements for MSL935008 Monitor the quality of test results and data

# Modification History

Release 1. Supersedes and is not equivalent to MSL935007 Monitor the quality of test results and data. Prerequisite unit added. Minor changes to Performance Criteria and Performance Evidence for clarity. Items removed from, and added to, Knowledge Evidence. Inappropriate resource requirement removed from Assessment Conditions.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

analysed at least 2 sets of test results and instrument calibration data and/or quality control records, including:

checking accuracy and completeness

detecting potential or actual non-conformances and:

assessing their significance

identifying potential causes

recommending preventative or corrective actions.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

specifications for samples, tests and/or calibration activities under investigation

scientific and technical knowledge of the procedures, equipment, materials and instrumentation used to generate the test results and data

charts, tables and statistical analysis tools to interpret results, estimate uncertainties and determine data acceptability

common sources of interference that may affect data

difference between batch versus continuous quality control monitoring

importance of considering potential impacts of non-conformances on previous work

common human and environmental factors that may affect data

common sources of faults in instruments and equipment that may affect data

workplace data quality procedures and/or legal traceability requirements

instrument calibration/performance records required for the job role

typical sample collection and preparation problems and associated preventative/corrective actions

existence and purpose of any accreditation and regulatory requirements relating to test results and data as they affect own job role.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

workplace quality assurance procedures based on Australian and/or international standards, and workplace quality manuals and procedures

technical records of sampling and testing activities, and instrument calibration/performance records

appropriate software.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa