# Assessment Requirements for MSL943002 Participate in laboratory or field workplace safety

Release: 1

Assessment Requirements for MSL943002 Participate in laboratory or field workplace safety

# Modification History

Release 1. Supersedes and is equivalent to MSL943002A Participate in laboratory/field workplace safety

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

working safely at all times by following work health and safety (WHS) policies and procedures

following workplace incident, first aid and emergency response procedures

identifying hazards and controlling risks

performing routine safety checks, including:

conducting general housekeeping, such as recognising possible trip hazards

checking functionality of personal protective equipment (PPE) and other safety equipment

inspecting reagents, equipment and instruments

checking availability of emergency equipment

seeking assistance to clarify obligations, procedures and work instructions that impact on safety and legal liability

recognising potential incidents and taking appropriate corrective action

reporting hazards and incidents

communicating WHS and environmental issues or concerns to designated personnel promptly

participating in workplace fire drill, incident, first aid and emergency evacuation procedures

using, storing and maintaining PPE

storing, transporting and disposing of dangerous goods following workplace instructions and procedures.

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

personal roles, rights and responsibilities and those of the employer

signage, symbols and signals relating to WHS

examples of hazards relevant to the work area, likely impacts and ways of addressing these using the hierarchy of control

site layout, including emergency exits, location and use of safety alarms, emergency response system and procedures, and designated WHS personnel

location, use, care and storage requirements for PPE and emergency/hazard control equipment in the work area

sources of advice and information on WHS issues, including material safety data sheets (MSDS) and key personnel

requirements and procedures for reporting (potential) WHS hazards and incidents, injuries, illness and near misses, and safety and environmental issues or concerns

standard operating procedures (SOPs), workplace procedures and safe work practices relevant to job role, including:

handling, storage and disposal of hazardous substances and requirements for labelling of hazardous substances

handling equipment and any task-specific manual handling techniques as required by work role

instructions that govern personal work, equipment use, and response to incidents and emergencies.

# Assessment Conditions

Judgement of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event.

This unit of competency is to be assessed in the workplace or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

other relevant technical units of competency

Holistic assessment methods include:

feedback from peers and supervisors about the candidate’s ability to conduct work safely

review of candidate's responses to WHS case studies, scenarios and/or 'what ifs'

review of workplace documents, such as incident report forms, completed by the candidate

written and/or oral questioning to assess required knowledge and likely reactions in hazardous/emergency situations

observation of the candidate preparing for and undertaking a range of work tasks.

Access is required to instruments, equipment, materials, workplace documentation, procedures and specifications associated with this unit, including, but not limited to:

laboratory/field work environment, equipment and materials

PPE

emergency equipment, such as first aid equipment, eye wash kit or shower and fire extinguisher

workplace procedures.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competence and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience.

Currency can be demonstrated through:

performing the competency being assessed as part of current employment OR

having consulted with a laboratory about performing the competency being assessed within the last twelve months.

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/