# Assessment Requirements for MSL952003 Collect routine site samples

Release: 1

Assessment Requirements for MSL952003 Collect routine site samples

# Modification History

Release 1. Supersedes and is equivalent to MSL952001 Collect routine site samples. Minor changes to Performance Criteria. Range of Conditions removed, with information about maintaining sample integrity moved to Knowledge Evidence to replace existing generic item. Performance Evidence simplified and duplication with Performance Criteria removed.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

collected at least 3 different kinds of samples using specified equipment and workplace procedures.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

types of samples, including:

grab samples (disturbed or undisturbed materials)

composite samples

quality control samples

ways that sample integrity is maintained, including:

use of appropriate containers and their sealing

purging of sample lines and bores

decontamination of sampling tools between collection of consecutive samples

use of appropriate preservatives

temperature control

transfer of sterile sample into sterile container

monitoring of storage conditions

workplace and/or legal traceability through appropriate sample labelling and records

characteristics of product and/or materials sampled as part of job role

purpose for which the samples have been collected

function of key sampling equipment/materials and principles of operation

sampling procedures covering labelling, preparation, storage, transport and disposal

hazards, risks, environmental protection measures and work health and safety (WHS) procedures associated with routine sampling undertaken.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

field or production sites for sampling

sampling tools, containers and equipment

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa