# MSL952004 Handle and transport samples or equipment

Release: 1

MSL952004 Handle and transport samples or equipment

# Modification History

Release 1. Supersedes and is equivalent to MSL952002 Handle and transport samples or equipment. Minor changes to Performance Criteria. Range of Conditions removed. Performance Evidence simplified and duplication with Performance Criteria removed. Additional ‘optional’ industry-specific items removed from Knowledge Evidence.

# Application

This unit of competency describes the skills and knowledge to pick up and transport samples or test/calibration equipment in a way that ensures the integrity of subsequent test results.

This unit of competency applies to couriers and laboratory and field assistants in all industry sectors. The person transporting the items is not necessarily responsible for sampling or testing. This unit does not cover sample collection or the ability to handle and transport animals as might be defined under prevailing animal care and ethics legislation and practices.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Competency Field

Sampling

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for pickup | 1.1 Confirm pickup sequence and any licence or permit requirements with supervisor 1.2 Follow workplace procedures to confirm that vehicle and communication devices are in working order 1.3 Check that required transport containers and materials are in the vehicle |
| 2. Pick up and transport items | 2.1 Confirm the number and nature of items to be picked up on arrival from workplace documentation 2.2 Ensure items match documentation 2.3 Follow workplace procedures for the transport of items 2.4 Alert laboratory personnel to any special needs that are identified on documentation accompanying the items 2.5 Complete required documentation at pickup point in accordance with workplace procedures 2.6 Stow items in the specified transport containers and under the required conditions 2.7 Maintain sample integrity in accordance with workplace and item-specific procedures 2.8 Deliver items to correct location in accordance with workplace procedures 2.9 Maintain confidentiality of information |
| 3. Maintain transport equipment | 3.1 Maintain vehicle according to workplace requirements 3.2 Maintain transport containers to ensure they are fit for purpose 3.3 Check stock levels of consumables and follow procedures for required restocking 3.4 Replenish stocks of collecting equipment at collection centres as required |
| 4. Maintain a safe work environment | 4.1 Use established work safety practices and personal protective equipment (PPE) to ensure personal safety and that of others 4.2 Clean up spills in accordance with workplace procedures 4.3 Minimise the generation of waste and follow workplace procedures for waste disposal |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSL952002 Handle and transport samples or equipment.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa