# Assessment Requirements for MSL953004 Operate a robotic sample preparation system

Release: 1

Assessment Requirements for MSL953004 Operate a robotic sample preparation system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL953002 Operate a robotic sample preparation system. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely operated a robotic sample preparation system reliably and efficiently for at least 3 different samples with different preparation requirements and subsequent analysis, including:

accurately recording sample details in system

minimising rework, waste and environmental impacts.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

importance of good customer relations, optimising throughput and minimising costs and rework

procedures for sorting and receiving samples used in job role

sample preparation methods/processes for common mineral ore samples used in job role

characteristics of materials to be sampled

purpose of routine downstream analytical tests conducted on samples used in job role

procedures for preventing contamination

procedures for ensuring traceability of samples

purpose of routine downstream analytical tests conducted on samples used in job role

function of key components and operating procedures for robotic sample preparation system

safe work procedures and operation of safety equipment relevant to job role

robotic system parameters, such as grind time, crushing time and cleaning cycles to prevent cross-contamination

materials typically sampled:

solids, such as rocks, minerals, soils, sands and stream sediments

pulverised core and other drill samples, such as rotary air blast (RAB), reverse circulation (RC) and air core samples

powder concentrates

dump samples and grab samples

common sample preparation methods:

sorting, boxing and drying

sieving

milling

primary crushing (e.g. 10 mm, 2 mm)

fine pulverising (e.g. 100 micron, 75 micron)

typical hazards to be addressed:

dust, silica and fibrous materials

asbestiform minerals

naturally occurring radioactive materials (NORM)

samples containing nickel and lead-based compounds

noise and vibration

crushing, entanglement and cuts associated with moving machinery

impact injuries from contact with robot arms

failure of pneumatic hoses

manual handling of heavy loads, such as sample bags/containers, racks and trolleys

heat exhaustion/stress and fatigue

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a robotic sample preparation system, sample preparation methods and service charges, reagents, sample containers and labels

sample preparation equipment including splitters, mills, bowls and tumblers, crushers, grinders and disc pulverisers, sieves and ovens

a variety of mineral ore samples

client documentation and preparation requests

safety equipment.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa