# Assessment Requirements for MSL954007 Obtain representative samples in accordance with sampling plan

Release: 1

Assessment Requirements for MSL954007 Obtain representative samples in accordance with sampling plan

# Modification History

Release 1. Supersedes and is not equivalent to MSL954004 Obtain representative samples in accordance with sampling plan. Removal of element for sample preparation. Minor changes to Performance Criteria. Changes to Knowledge Evidence for clarity.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

obtained samples from at least 3 different sampling points, that are representative of the source material and taken in accordance with a sampling plan.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

principles of representative sampling, including:

representative samples

preservation of integrity of samples

maintaining identification of samples relative to their source, workplace and legal traceability

cost-effectiveness of sampling

consistency of sampling procedures

random, systematic and stratified sampling

function of key sampling equipment and materials, and principles of operation

characteristics of product and/or materials sampled as part of job role and likely contaminants

methods to maintain the integrity of samples and when preservation may be needed

maps and site plans

quality control procedures for sampling including controls, background, duplicates and blanks

sampling plans and/or inspection and test plans

site and sampling hazards and the links between following WHS procedures and personal and environmental safety, particularly at high-risk sites

workplace and legal traceability and chain of custody requirements

environmental sustainability issues as they relate to the work task

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

source material

different sample types

sampling plans and procedures, sampling containers and sampling equipment

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa