# Assessment Requirements for MSL955002 Supervise a robotic sample preparation system

Release: 1

Assessment Requirements for MSL955002 Supervise a robotic sample preparation system

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL955001 Supervise a robotic sample preparation system. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

ensured that the robotic sample preparation system operates efficiently and safely to produce outputs that meet the workplace and/or client quality requirements for at least 3 job sequences.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

geological and chemical characteristics of mineral ores handled in job role

typical materials sampled:

solids, such as rocks, minerals, soils, sands and stream sediments

pulverised core and other drill samples such as rotary air blast (RAB), reverse circulation (RC) and aircore samples

powder concentrates

dump samples and grab samples

sample preparation methods/processes for a range of mineral ore samples:

sorting, boxing and drying

sieving

milling

primary crushing (e.g. 10 mm, 2 mm)

fine pulverising (e.g. 100 micron, 75 micron)

robotic system parameters, such as grind time, crushing time and cleaning cycles to prevent cross-contamination

sample preparation equipment:

splitters (e.g. riffles and rotary dividers)

mills (e.g. ball, ring and rod)

bowls (e.g. chrome-steel, tungsten-carbide and zirconia) and tumblers

crushers (e.g. cone, jaw and roll), grinders and disc pulverisers

sieves

ovens

sample containers and labels

purpose and key steps in routine downstream analytical tests for samples handled in job role

workplace procedures for:

sorting, receiving and analysing samples

preventing contamination

ensuring security, integrity and traceability of samples

ensuring confidentiality of results

sampling for specific samples, sites and clients (labelling, preparation, storage, transport and disposal)

recording and reporting

function of key components and operating procedures for robotic sample preparation system

function of key components of laboratory information management system (LIMS), system software and layout of screens

common hazards:

dust, silica and fibrous materials

asbestiform minerals

naturally occurring radioactive materials (NORM)

samples containing nickel and lead-based compounds

noise and vibration

crushing, entanglement and cuts associated with moving machinery

impact injuries from contact with robot arms

failure of pneumatic hoses

manual handling of heavy loads, such as sample bags/containers, racks and trolleys

heat exhaustion/stress and fatigue

common system problems and corrective actions:

sample losses:

inspecting mill for mechanical problems and worn hoses

inspecting balance/load cell, clean and check calibration

checking sample for dryness and contamination

collision of sample buckets, transport belt problem:

clearing obstruction, cross-checking sample, worksheet, job sequence and synchronising belt

loss of air pressure:

checking pneumatic lines, compressor and solenoid values

laboratory information management system (LIMS) network connections:

checking all parameters are saved in system, if not, unloading and reloading data and cross-check samples with worksheets

troubleshooting and problem-solving techniques relevant to job role

importance of good customer relations, throughput, costs and minimising rework

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a robotic sample preparation system

mineral ore samples, sample preparation methods, equipment and reagents

client requests/documentation: client profile; sample identification; required preparation methods

safety equipment

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa