# MSL973002 Prepare working solutions

Release: 1

MSL973002 Prepare working solutions

# Modification History

Release 1. Supersedes and is equivalent to MSL973002A Prepare working solutions

# Application

This unit of competency covers the ability to prepare working solutions and to check that existing stocks of solutions are suitable for use. Working solutions include those required to perform laboratory tests. Personnel are required to calculate quantities and make dilutions.

This unit of competency is applicable to laboratory assistants working in all industry sectors.

While no specific licensing or certification requirements apply to this unit at the time of publication, laboratory operations are governed by relevant legislation, regulations and/or external accreditation requirements. Local requirements should be checked.

# Pre-requisite Unit

Nil

# Competency Field

Testing

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Make up working solutions | 1.1 | Identify the relevant standard methods for solution preparation |
|  |  | 1.2 | Assemble specified laboratory equipment |
|  |  | 1.3 | Select and prepare materials and solvent of specified purity |
|  |  | 1.4 | Measure appropriate quantities of reagents for solution preparation and record data |
|  |  | 1.5 | Prepare labels and log solution details in laboratory register |
|  |  | 1.6 | Transfer solutions to appropriately labelled containers |

| 2 | Check existing stock of solutions | 2.1 | Monitor shelf life of working solutions and identify those that are unfit for use according to laboratory procedures |
| --- | --- | --- | --- |
|  |  | 2.2 | Replace out-of-date or reject solutions according to laboratory procedures |

| 3 | Maintain a safe work environment | 3.1 | Use appropriate safety procedures and personal protective equipment (PPE) to ensure personal safety and that of other laboratory personnel |
| --- | --- | --- | --- |
|  |  | 3.2 | Store reagents and clean/store glassware and equipment in accordance with workplace procedures |
|  |  | 3.3 | Minimise generation of waste and environmental impacts |
|  |  | 3.4 | Clean up spills using appropriate techniques |
|  |  | 3.5 | Ensure the safe collection of laboratory and hazardous waste for subsequent disposal |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Standards, codes, procedures and/or workplace requirements | Standards, codes, procedures and/or workplace requirements include the latest version of one or more of: Australian and international standards covering the requirements for the competence of testing and calibration laboratories, laboratory safety, quality management and laboratory glassware national work health and safety (WHS) standards and codes of practice, national environmental protection measures, and national measurement regulations and guidelines specific codes, guidelines and procedures, such as National Association of Testing Authorities (NATA) accreditation requirements and principles of good laboratory practice (GLP) workplace documents, such as standard operating procedures (SOPs); quality and equipment manuals; calibration and maintenance schedules; material safety data sheets (MSDS); safety procedures; material, production and product specifications;, production and laboratory schedules; workplace recording and reporting procedures; and waste minimisation and safe disposal procedures workplace procedures and standard methods for preparing working solutions |
| Working solutions | Working solutions include, but are not limited to, one or more of: solutions required for diagnostic/analytical and limit tests in food and chemical laboratories, such as sulphates, chlorides and heavy metals staining solutions for standard diagnostic/analytical procedures in biomedical/environmental laboratories, such as cell staining, fixation of cells and tissues, suspension of cells and titrimetric indicators solutions required for laboratory maintenance and disinfection, such as 70% ethanol and hypochlorite |
| Safety procedures | Safety procedures include, but are not limited to, one or more of: use of PPE, such as safety glasses, gloves and coveralls correctly labelling reagents and hazardous materials handling and storing hazardous material and equipment in accordance with labels, MSDS, manufacturer instructions and workplace procedures and regulations regular cleaning and/or decontamination of equipment prompt clean-up of spills in accordance workplace procedures |
| WHS and environmental management requirements | WHS and environmental management requirements include:  complying with WHS and environmental management requirements at all times, which may be imposed through state/territory or federal legislation. These requirements must not be compromised at any time  applying standard precautions relating to the potentially hazardous nature of samples accessing and applying current industry understanding of infection control issued by the National Health and Medical Research Council (NHMRC) and State and Territory Departments of Health, where relevant |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MSL973002A Prepare working solutions

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa