# MSL973006 Prepare trial batches for evaluation

Release: 1

MSL973006 Prepare trial batches for evaluation

# Modification History

Release 1. Supersedes and is equivalent to MSL973006A Prepare trial batches for evaluation

# Application

This unit of competency covers the ability to prepare trial batches of materials for evaluation. Materials can include soil, minerals and manufactured products, such as concrete, asphalt, food, plastics, paint and other industrial chemicals.

This unit of competency is applicable to laboratory assistants working in all industry sectors. It describes work conducted by laboratory assistants, generally working under the guidance of a senior technician or laboratory supervisor/manager.

While no specific licensing or certification requirements apply to this unit at the time of publication, laboratory operations are governed by relevant legislation, regulations and/or external accreditation requirements. Local requirements should be checked.

# Pre-requisite Unit

Nil

# Competency Field

Testing

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for trial batch mixing | 1.1 | Identify the job, materials, appropriate procedures and safety requirements |
|  |  | 1.2 | Record description of the job to be undertaken, compare with specification and report any variations |
|  |  | 1.3 | Select and prepare tools, equipment and materials in accordance with job requirements |
|  |  | 1.4 | Confirm the properties and quantities of materials to be used |
|  |  | 1.5 | Confirm that the required materials are available and ready for use |
| 2 | Mix trial batch for evaluation | 2.1 | Measure out quantities of materials ready for mixing |
|  |  | 2.2 | Mix the materials according to established procedures |
|  |  | 2.3 | Discharge the mixture ready for inspection and testing according to established procedures |
|  |  | 2.4 | Record details of the mix and any observations according to established procedures |
| 3 | Evaluate properties of the mixture by inspection and standard test methods | 3.1 | Obtain representative samples of the mix for testing |
|  |  | 3.2 | Use established procedures and metrology concepts to perform specified tests and calculations |
|  |  | 3.3 | Handle and transport samples in accordance with established procedures |
|  |  | 3.4 | Label samples and record details in accordance with established procedures |
| 4 | Clean equipment and dispose of materials | 4.1 | Clean mixing, measuring, sampling and testing equipment after use |
|  |  | 4.2 | Return unused materials to storage |
|  |  | 4.3 | Dispose of excess materials safely and ethically |
| 5 | Maintain records | 5.1 | Record data in accordance with established procedures |
|  |  | 5.2 | Maintain equipment records in accordance with established procedures |
|  |  | 5.3 | Maintain confidentiality of workplace information |
| 6 | Maintain a safe work environment | 6.1 | Use established safe work practices and personal protective equipment (PPE) to ensure personal safety and that of other laboratory personnel |
|  |  | 6.2 | Minimise the generation of wastes and environmental impacts |
|  |  | 6.3 | Ensure safe disposal of laboratory and hazardous wastes |
|  |  | 6.4 | Clean, care for and store equipment and reagents as required |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Standards, codes, procedures and/or workplace requirements | Standards, codes, procedures and/or workplace requirements include the latest version of one or more of: Australian and international standards covering the requirements for the competence of testing and calibration laboratories, laboratory safety, quality management and environmental management, sampling of materials and international system of units (SI) national work health and safety (WHS) standards and codes of practice, national environmental protection measures, and national measurement regulations and guidelines specific codes, guidelines and procedures, such as National Association of Testing Authorities (NATA) accreditation requirements and principles of good laboratory practice (GLP) workplace documents, such as standard operating procedures (SOPs); quality and equipment manuals; calibration and maintenance schedules; material safety data sheets (MSDS); safety procedures; material, production and product/formulation specifications; production and laboratory schedules; workplace recording and reporting procedures; waste minimisation and safe disposal procedures; and maps and site plans sampling procedures for specific samples, sites and clients (labelling, preparation, storage, transport and disposal) and standard test methods |
| Safety procedures | Safety procedures include, but are not limited to, one or more of: ensuring access to service shut-off points recognising hazard warning and safety signs, barriers, service isolation tags, traffic control and flashing lights, and lockout and tag out procedures using PPE handling, labelling and storing hazardous material and equipment in accordance with labels, MSDS, manufacturer instructions, and workplace procedures and regulations following established manual handling procedures regular cleaning and/or decontamination of equipment and work area use of machinery guards identifying and reporting operating problems or equipment malfunctions |
| WHS and environmental management requirements | WHS and environmental management requirements include:  complying with WHS and environmental management requirements at all times, which may be imposed through state/territory or federal legislation. These requirements must not be compromised at any time  applying standard precautions relating to the potentially hazardous nature of samples  accessing and applying current industry understanding of infection control issued by the National Health and Medical Research Council (NHMRC) and State and Territory Departments of Health, where relevant |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MSL973006A Prepare trial batches for evaluation

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/