# Assessment Requirements for MSL973013 Perform basic tests

Release: 1

Assessment Requirements for MSL973013 Perform basic tests

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL973001 Perform basic tests. Foundation skills information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

prepared samples using different processes

performed at least 3 basic tests or measurements using standard methods and procedures.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

concepts of metrology, including:

all measurements are estimates

measurements belong to a population of measurements of the measured parameters

precision, accuracy and significant figures

sources of error, uncertainty and repeatability

traceability

international system of units (SI)

purpose of tests performed as part of job role and principles of the standard methods/specifications used

sample preparation processes relevant to job role

typical basic tests and methods relevant to job role

measurements used for typical tests

function of key components of the test equipment, pre-use equipment and safety checks

sources of uncertainty in measurement and methods for control

workplace and/or legal traceability requirements

interpretation and recording of test result, including simple calculations

procedures for recognising and reporting of unexpected or unusual results

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with basic test equipment, common measuring instruments, materials, standard methods, workplace procedures, SDS and equipment manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa