# Assessment Requirements for MSL973014 Prepare working solutions

Release: 1

Assessment Requirements for MSL973014 Prepare working solutions

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL973002 Prepare working solutions. Changes to elements and performance criteria. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely prepared at least 5 examples of correctly labelled working solutions, including calculation of the quantities involved and any dilutions required

checked existing stocks of working solutions and identified those unfit for use.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

concepts of metrology, including:

all measurements are estimates

precision, accuracy and significant figures

sources of error, uncertainty and repeatability

traceability

working solutions

international system of units (SI)

concentration terms, such as % w/w, % w/v, % v/v, ppm (mg/L) and molarity

basic theory of acids, bases, salts, buffers and neutralisation

what affects solubility

difference between aqueous and organic solutions

periodic table, symbols of the elements, atomic weights, and difference between elements and compounds

chemical formulae

workplace procedures for preparing solutions

calculations required to prepare specified amounts of solutions of specified concentration

use of safety data sheets (SDS) and workplace procedures for preparing, handling and disposing of solutions and cleaning up spillages

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate reagents and equipment

standard methods and workplace procedures

containers and storage facilities.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa