# Assessment Requirements for MSL973015 Prepare culture media

Release: 1

Assessment Requirements for MSL973015 Prepare culture media

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL973003 Prepare culture media. Changes to performance criteria. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

effectively used standard methods to safely prepare at least 3 different batches of culture media that meet specifications and are free of contamination, including:

using appropriate sterilisation techniques, including maintaining adequate space between containers to prevent cross-contamination

performing quality assurance checks on media, including streaking out of cultures to a single colony

effectively operated a pH meter.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

basic microbiological concepts and terminology, including growth rates in culture, and production of gas and haemolysis of red cells in media

growth requirements of cells including microorganisms and tissue cells in terms of their laboratory culture

purpose, content and features of culture media prepared in job role, and the relationship between the correct preparation of culture media and the optimal growth of organisms or cells

nature, properties and use of a range of biological media

cell culture:

agars, broths and solutions

slopes and deeps

common enriched media, differential media and selective media

common tissue culture media and transport media

labile constituents including blood, hormones or antibiotics

sterilisation techniques:

boiling, high temperature, high pressure steam and autoclaving

membrane filtration

radiation, gas and/or chemical treatments

relationship between sterile practices, hygiene procedures and the ability to obtain growth free of contamination

the effect of physical requirements including pH and temperature on optimal growth of organisms and cells

the effect of inappropriate storage on culture media quality and performance

relevant hazards and how to deal with the risks presented:

microorganisms and reagents

sharps and broken glassware

sources of heat including ovens and burners

fluids under pressure including steam from autoclaves

UV radiation

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate reagents and equipment, including pH meters; balances; stirrers, water baths and hot plates; burners, autoclave; measuring cylinders, flasks and glassware; Petri dishes; media storage bottles; self-refilling syringes; membrane filtration equipment; labelling equipment; distilled water apparatus; refrigerators; sterilisation equipment and indicators

workplace schedules and procedures, SDS and documented safe work practices.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa