# Assessment Requirements for MSL973019 Perform microscopic examination

Release: 1

Assessment Requirements for MSL973019 Perform microscopic examination

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL973007 Perform microscopic examination. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

set up a microscope for köhler illumination on 10x, 40x and 100x magnification on at least 3 occasions

safely prepared and focused on at least 3 different sample types for examination with a compound light microscope including 3 from the following list:

preparing and staining a smear or film with a monolayer of cells

preparing a wet mount

loading a sample into a counting chamber

preparing hand cut samples

observed, identified and reported the microscopic characteristics of at least 2 different sample types including at least 1 from the following list:

intact living or non-living organism

fixed and stained cells

wet mount

taken basic measurements

performed a count using a grid

performed accurate calculations as required by the method, including:

dilutions

number of cells in original sample after dilution

calculation of cells/volume based cell counts.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

nature of samples, sample preparation methods, methods of examination and associated hazards

parts and functions of a light microscope and steps taken to optimise the resolution of images

procedures and reporting requirements for spills, faulty or unsafe equipment, hazards and incidents

types of samples relating to job role

causes and basic troubleshooting of common artefacts or incorrect results in microscopy

vernier measurement and micrometry techniques

sample characteristics restricted to what can be viewed by light microscopy:

shape and size of particles

presence of contamination

colour

consistency and variability

number of cells (e.g. cells in blood or other particulate samples, such as a yeast suspension or pollen grains)

type of cells

colour/staining and morphology

applications of different types of microscopes/setups including compound light, dark field, phase contrast, fluorescent, electron, polarising and stereomicroscope (dissecting)

awareness of environmental sustainability issues as they relate to the work task

traceability requirements

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate equipment, including light microscopes and samples

workplace procedures, standard methods and materials

a light microscope.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa