# Assessment Requirements for MSL973021 Conduct field-based acceptance tests for construction materials

Release: 1

Assessment Requirements for MSL973021 Conduct field-based acceptance tests for construction materials

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL973009 Conduct field-based acceptance tests for construction materials. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

conducted at least 3 different in situ tests to confirm the acceptability of raw or manufactured construction materials prior to or after their use

safely and accurately collected and prepared 2 field samples test pieces within the required timeframe.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

the purpose and principles of construction materials tests performed as part of job role and key preparation/measurement steps in the test method

the properties of construction materials under test

calculation steps to give results in appropriate units and precision

expected values for sample type and sources of uncertainty (and methods for control) in construction materials tests routinely used in job role

typical site samples and test pieces

types of field-based acceptance tests

workplace procedures for:

waste minimisation and safe disposal procedures; and

sampling and testing procedures for specific sites, clients and samples

pre-use checks and operating test equipment

recording and reporting test results, calculations, site observations, and handling unexpected or atypical results and equipment problems

ensuring traceability of samples, test pieces, test data and results

workplace confidentiality

standard methods for testing construction materials: soils, aggregates, concrete and asphalt

appropriate corrective actions for errors:

carefully re-reading of procedures and checklists

logically checking equipment set-up

checking calibration, zero error and drift for the measuring instrument

repeating test measurements

checking data entry and transcription for errors

seeking advice

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

sampling and test equipment and materials specified in the test method

test methods and description of test set-up, data sets and records

calculator and/or computer and relevant software or laboratory information system.

test specifications.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa