# Assessment Requirements for MSL973022 Conduct laboratory-based acceptance tests for construction materials

Release: 1

Assessment Requirements for MSL973022 Conduct laboratory-based acceptance tests for construction materials

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL973010 Conduct laboratory-based acceptance tests for construction materials. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely prepared at least 3 different laboratory samples or test pieces and conducted laboratory tests on them to confirm their acceptability

safely conducted laboratory-based acceptance tests in accordance with workplace procedures and test methods to provide reliable data within the required timeframe.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

the purpose and principles of construction materials tests performed as part of job role and key preparation/measurement steps in the test methods

the properties of construction materials under test

calculation steps to give results in appropriate units and precision

expected values for sample type and sources of uncertainty (and methods for control) in construction materials tests routinely used in job role

workplace procedures for:

pre-use checks and operating test equipment routinely used in job role

recording and reporting test results, calculations, test observations, and unexpected or atypical results and equipment problems

ensuring traceability of samples, test pieces, test data and results

confidentiality

waste minimisation and safe disposal

sampling and testing procedures for specific sites, clients and samples

workplace safety

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and workplace requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

sample preparation and test equipment and materials specified in the test method

test methods and description of test set-up, data sets and records

calculator and/or computer and relevant software or laboratory information system.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa