# Assessment Requirements for MSL973023 Perform fire pouring techniques

Release: 1

Assessment Requirements for MSL973023 Perform fire pouring techniques

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL973011 Perform fire pouring techniques. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely and effectively extracted precious metals from the host matrices in readiness for analysis on at least 3 occasions, including:

maintaining close attention to technical and safety requirements in a physically demanding, hazardous environment

recognising common sample preparation and cupellation problems and making standard adjustments to fluxes and firings

recognising non-acceptable characteristics of received and fused samples, buttons and prills

recognising indicators of poor recovery and applying established corrective actions.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

workplace procedures and/or standard methods for:

fusion of common mineral ore samples

cupellation of buttons

digestion/parting of prills

specific samples, sites and clients (labelling, preparation, storage, transport and disposal)

published preparation methods

recording and reporting

waste minimisation and safe disposal

common samples:

solids, such as rocks, minerals, soils, sands and stream sediments

core and other drill samples (e.g. rotary air blast (RAB), reverse circulation (RC) and aircore)

slurries, powder concentrates and metallurgical solutions

dump samples and grab samples

sequencing of pots in a rack:

addition of silver wire or silver nitrate (AGNO3) mix

addition of coloured salts (e.g. copper sulphate CuSO4)

separation of collectors:

cupellation; digestion; and/or parting, annealing and weighing for a gravimetric finish

function, operation and maintenance of assay equipment used in job role

typical hazards

criteria for an ‘acceptable’ button, including:

one piece, mass >20 g and <50 g

malleable

separates cleanly from slag

free of undecomposed ore, matte and speiss

causes of contamination and losses, including:

poorly made cupels

base metals – copper (Cu), nickel (Ni), zinc (Zn) and bismuth (Bi)

arsenic (As), sulphur (S), antimony (Sb), selenium Se), tellurium (Te) and chromium (Cr)

scoria

sprouting

indicators of potential loss and the corrective action, including:

viscous slag (check furnace temperature, adjust flux and lower charge weight)

lead shotting – (adjust flux, lower charge weight to compensate for high oxides, silicates and chromites)

sulphides (adjust fusion time, adjust sample weight and/or flux)

matte, speiss (adjust sample weight and flux)

incomplete fusion (adjust sample weight and/or flux)

unacceptable button (adjust sample weight and/or flux)

inquartation (add three parts silver (Ag) to prill, wrap in lead foil and re-cupel)

workplace and legal traceability requirements

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a variety of precious metal ore samples and associated fire assay methods, fire assay materials and reagents

client requests and documentation: client profile, sample identification, sample receipt, storage and analyses, required preparation method and service charges

assay equipment, such as:

mixing equipment and balances

fusion and muffle furnaces and associated spares

temperature sensors and hotplates

compressed air service, extraction systems and fuel supply lines

cupels, pouring equipment, pot loader, trolleys, moulds, tongs and hammers

pots, including ceramic, acidic/basic, alumina, zirconia and graphite

collectors, including litharge or lead (II) oxide (PbO) for pot fusion and silver (AGNO3) for the cupellation

fluxes

non-standard flux additives

safety equipment and safe work procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa