# Assessment Requirements for MSL973025 Perform basic tests

Release: 1

Assessment Requirements for MSL973025 Perform basic tests

# Modification History

Release 1. Supersedes and equivalent to MSL973013 Perform basic tests. Minor changes to Performance Criteria. Duplicating items removed from Knowledge Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

prepared samples using at least 2 different processes

performed at least 3 different basic tests or measurements using standard methods and procedures.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

basic measurement concepts, including repeatability, precision, accuracy and significant figures

international system of units (SI)

purpose of tests performed as part of job role and principles of the standard methods/specifications used

sample preparation processes relevant to job role

function of key components of the test equipment, pre-use equipment and safety checks

sources of uncertainty in measurement and methods for control

workplace and/or legal traceability requirements

interpretation and recording of test result, including simple calculations

procedures for recognising and reporting of unexpected or unusual results

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with basic test equipment, common measuring instruments and materials

safety data sheets (SDS)

equipment manuals

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa