# MSL973028 Perform microscopic examination

Release: 1

MSL973028 Perform microscopic examination

# Modification History

Release 1. Supersedes and equivalent to MSL973019 Perform microscopic examination. Unit refocused on using the microscope with general content covered in other units removed. Significant simplification of Performance Evidence for clarity.

# Application

This unit of competency describes the skills and knowledge to set up a light microscope for optimum resolution, to prepare routine samples and to observe, identify and report sample characteristics.

This unit of competency applies to laboratory assistants and technicians in all industry sectors. The unit of competency covers limited interpretation and analysis of results. Troubleshooting of equipment and procedures is not required.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Competency Field

Testing

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare samples for examination | 1.1 Use personal protective equipment (PPE) to ensure safety and minimise cross-contamination? 1.2 Prepare samples for microscopic examination in accordance with workplace procedures |
| 2. Set up and use a light microscope | 2.1 Carry and use a microscope correctly, preventing damage to the equipment and ensuring operator safety 2.2 Perform pre-use and safety checks to ensure equipment is fit for purpose 2.3 Check external lenses to ensure they are clean 2.4 Set up the microscope for optimum resolution and even illumination 2.5 Select the appropriate objectives and filter for the sample being examined 2.6 Place sample correctly on the stage |
| 3. Observe and identify sample characteristics | 3.1 Recognise and identify significant sample characteristics 3.2 Perform required counts and measurements 3.3 Collect and dispose of all wastes safely |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Numeracy skills to:

perform counts on samples using grids or counting chambers

take basic measurements.

Other foundation skills essential to performance are explicit in the performance criteria of this unit.

# Unit Mapping Information

Supersedes and is equivalent to MSL973019 Perform microscopic examination.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa