# Assessment Requirements for MSL974004 Perform food tests

Release: 1

Assessment Requirements for MSL974004 Perform food tests

# Modification History

Release 1. Supersedes and is equivalent to MSL974004A Perform food tests

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

performing at least five (5) routine food tests or procedures involving several measurement steps

interpreting food testing methods and procedures accurately

preparing samples using at least three (3) different processes

maintaining and evaluating reagents

conducting pre-use and calibration checks on equipment, and quarantining out-of-calibration equipment and instruments

safely operating test equipment and instruments to workplace standards and manufacturer specification

processing data, interpreting gross features of data/results and making relevant conclusions

preparing calibration graphs and calculating results using appropriate equations, units, uncertainties and precision

identifying atypical results as either out-of-normal range or an artefact

tracing and sourcing obvious causes of an artefact, tracking obvious test malfunctions for standardised procedures, and troubleshooting basic equipment and methods

communicating problems to a supervisor or outside service technician

recording and communicating results in accordance with workplace procedures

maintaining security, integrity and traceability of samples, sub-samples, test data, results and documentation

following workplace safety procedures

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

principles and concepts underpinning the food tests or procedures performed, such as:

ions, atoms, molecules, bonding, affinities and related properties

chemical reactions (acid/base and complexiometric)

structure and properties of proteins, lipids, carbohydrates, vitamins and minerals

food additives, flavourings and essences

nutrient value of major food groups

interaction of water with food components

microbiology, including incubation characteristics, selective media, growth stages of bacterial cultures and reference organisms

microbiology of organisms with public health significance

chemical and microbial changes in food

food preservation techniques

fermentation process

packaging and controlled atmosphere

elastic properties of materials and hardness

cohesive/adhesive forces, fluid flow and viscosity

changes of state, energy content and enthalpy change

electromagnetic spectrum and absorption, emission and refraction of light

quality control program for raw materials, process control and finished product inspection

genetically modified foods

purpose of the food tests or procedures conducted

concepts of metrology, principles and concepts related to equipment and instrument operation and tests or procedures

function of key components of the equipment/instrument used

effects on the test of modifying equipment/instrument variables

workplace and/or legal traceability requirements

relevant hazards, work health and safety (WHS) and environment requirements.

# Assessment Conditions

Judgment of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event.

This unit of competency is to be assessed in the workplace or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

MSL924001 Process and interpret data

Holistic assessment methods include:

review of test data/results obtained by the candidate over a period of time to check accuracy, consistency and timeliness of results

review of test records and workplace documentation completed by the candidate

feedback from peers and supervisors

observation of candidate conducting a range sample preparations and food tests and procedures

oral or written questioning of food technology concepts and principles, food tests and procedures and workplace procedures.

Access is required to instruments, equipment, materials, workplace documentation, procedures and specifications associated with this unit, including, but not limited to:

a standard laboratory equipped with test equipment, instruments, standards and materials

workplace procedures and standard methods

records, including:

test and calibration results

equipment use, maintenance and servicing history.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competence and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience.

Currency can be demonstrated through:

performing the competency being assessed as part of current employment OR

having consulted with a laboratory about performing the competency being assessed within the last twelve months.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa