# Assessment Requirements for MSL974005 Perform physical tests

Release: 1

Assessment Requirements for MSL974005 Perform physical tests

# Modification History

Release 1. Supersedes and is equivalent to MSL974005A Perform physical tests

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

safely performing at least five (5) physical tests or procedures which involve several measurement steps

interpreting physical test methods and procedures accurately

preparing samples using at least three (3) different processes

conducting pre-use and calibration checks on equipment, and quarantining out-of-calibration equipment/instruments

safely operating test equipment and instruments to workplace standards and manufacturer specifications

processing data, interpreting gross features of data/results and making relevant conclusions

preparing calibration graphs and calculating results using appropriate equations, units, uncertainties and precision

identifying atypical results, such as out-of-normal range or an artefact

tracing and sourcing obvious causes of artefacts, tracking of obvious test malfunctions of standardised procedures, and troubleshooting basic equipment and methods

communicating problems to a supervisor or outside service technician

recording and communicating results in accordance with workplace procedures

maintaining security, integrity and traceability of samples, sub-samples, test data/results and documentation

following workplace safety procedures.

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

relevant physical principles and concepts, such as:

matter, interatomic and intermolecular forces

mechanical concepts, such as mass and weight; forces, friction, slip resistance, cohesive/adhesive forces; pressure, hydrostatic pressure; fluid flow; viscosity and energy

properties of gases, pressure/volume/temperature, density, diffusion and compressibility

thermal concepts, such as expansion, thermal conductivity, coefficients of expansion; changes of state, energy content, enthalpy change and endothermic and exothermic processes

electromagnetic spectrum, primary/secondary colours, reflection, refraction, diffraction and interference of light

electrical concepts, such as electric field, voltage, current, resistance and AC/DC, and electrical safety

electromagnetic concepts, such as magnetic field and flux, and electromagnetic induction

acoustic concepts, such as wave properties, amplitude, frequency and loudness (dB)

mechanical concepts, such as elasticity, hardness, material strength, plasticity, permeability and dispersion

purpose of tests or procedures conducted

concepts of metrology, principles and concepts related to equipment and instrument operation, and test or procedure

function of key components of equipment/instrument and effects on the test of modifying equipment and instrument variables

sample preparation procedures

calibration and basic equipment and method troubleshooting procedures

workplace and legal traceability requirements

relevant hazards, work health and safety (WHS) and environment requirements.

# Assessment Conditions

Judgment of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event.

This unit of competency is to be assessed in the workplace or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

MSL924001 Process and interpret data.

Holistic assessment methods include:

review of test data and results obtained by the candidate over a period of time to check accuracy, consistency and timeliness of results

review of workplace test records and documentation completed by the candidate

feedback from peers and supervisors

observation of the candidate conducting sample preparation and a range of physical tests and procedures

oral or written questioning of physical principles and concepts, test methods and workplace procedures.

Access is required to instruments, equipment, materials, workplace documentation, procedures and specifications associated with this unit, including, but not limited to:

a standard laboratory equipped with appropriate sample preparation and test equipment/instruments, standards and materials

workplace procedures and standard methods

records, including test and calibration results; equipment use, maintenance and servicing history, and faulty or unsafe equipment.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competence and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience.

Currency can be demonstrated through:

performing the competency being assessed as part of current employment OR

having consulted with a laboratory about performing the competency being assessed within the last twelve months

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/